FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Inspector II           Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: September 8, 2025

To: Lisa Elgin

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone Number: 719-520-6449

Email: LisaElgin@elpasoco.com

Project Name: Church at Bent Grass Meadows Rezone

File Prefix: CS-Commercial Service

Parcel/s: 5301000026 and 5301000033

File Number: CS253

The Falcon Fire Protection District recommends approval of this rezone proposal with the following.

Notes:

No fees for a rezone review.

Attention Contractor/Applicant:

YOU ARE RESPONSIBLE TO COMPLETE THE FOLLOWING ITEMS.

Please complete the following items:

- The Falcon Fire Department has reviewed the rezoning for the above project.

- Follow the Colorado State Forest Service recommendations on mitigation or the new Colorado Wildfire Resiliency Code if permitting after April 1, 2026.

- Firefighting water supply adequate per Woodmen Hills Metropolitan District.

- Adequate fire apparatus access per the LDC and the International Fire Code (2021 edition).

- The plot/site plan and the water plan are approved by the Falcon Fire Protection District. Plan review fees associated for both reviews.

Please let me know if there are any questions and/or concerns. You may contact me via the email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Inspector II