October 5, 2023

County File: ANX-23-21

Re: Rock Creek Mesa Annexation

To: Gabe Sevigny ; gabe.sevigny@coloradosprings.gov

Planning Division

Annexation impact report required for annexation of property comprising greater than ten (10) acres. Please provide a complete annexation impact report packet at least 20 days prior to the City’s annexation hearing. Annexation report shall include the following:

- A map or maps of the municipality and adjacent territory to show the following information:

  - The present and proposed boundaries of the municipality in the vicinity of the proposed annexation;

  - The present streets, major trunk water mains, sewer interceptors and outfalls, other utility lines and ditches, and the proposed extension of such streets and utility lines in the vicinity of the proposed annexation; and

  - The existing and proposed land use pattern in the areas to be annexed;

- A copy of any draft or final pre-annexation agreement, if available;

- A statement setting forth the plans of the municipality for extending to or otherwise providing for, within the area to be annexed, municipal services performed by or on behalf of the municipality at the time of annexation;

- A statement setting forth the method under which the municipality plans to finance the extension of the municipal services into the area to be annexed;

- A statement identifying existing districts within the area to be annexed; and

- A statement on the effect of annexation upon local-public school district systems, including the estimated number of students generated and the capital construction required to educate such students.

Reviewed by: Joe Letke

joeletke@elpasoco.com

Engineering Division

1. The legal descriptions checked do not match the plat exhibit, which also doesn't match the land use plan or GIS maps when overlaid.
2. There are two tracts labeled as Parcel B on the plat exhibit.
3. Please verify that Pawnee Road is not excepted from the annexation in the legal descriptions.

No drainage or traffic comments at this time.

Reviewed by:
Jeff Rice
719-520-7877
jeffrice@elpasoco.com

County Engineer (Public Works)

Additional comments may be provided by the County Engineer.

Joe Letke

Planner II

El Paso County Planning and Community Development

2880 International Circle, Colorado Springs, CO, 80910

(719) 520-6447