Apparatus Maintenance Building - Falcon Fire Station #3, PPR-23-26

Please accept the following comments from El Paso County Public Health for the project referenced above:

- Water service for the existing operation is provided by Woodmen Hills Metropolitan District (WHMD). There is a finding for sufficiency in terms of water quality for this existing community water system. PWSID #CO0121930

- Wastewater service for the project is provided by Woodmen Hills Metropolitan District.

- The owner must comply with all federal, state, and local regulations regarding the proper storage and disposal/recycling of batteries, and other automotive fluids generated as part of the operation.

- Vehicle painting is allowed if full compliance with the emission regulations of the Colorado Department of Public Health and Environment, Air Pollution Control Division is provided. For information contact https://www.colorado.gov/pacific/cdphe/APENforms

Mike McCarthy

El Paso County Public Health

719-332-5771

mikemccarthy@elpasoco.com

13October2023