Planning and Community Development Department

Craig Dossey, Executive Director

May 3, 2021

County File: OAR-21-032

Re: American Furniture Warehouse Development Plan - AR DP 21-00219

To: Katie Carleo; Katie.Carleo@coloradosprings.gov

Planning Division

Review 1 comments:

- Verify that proposed development provides sufficient buffers between existing EPC residential and rural uses (RR-5, five-acre min. lot size and A-5, five-acre min. lot size), specifically those to the north and south of the subject site.

- The required buffer shall be a minimum of 15 feet deep. The minimum number of trees in the buffer shall be 1 tree for every 15 feet of the road frontage. A minimum of ⅓ of the trees shall be evergreen trees (reference Section 6.2.2.   Landscape Requirements of the LDC).

Reviewed by: Mercedes Rivas, Planner II

mercedesrivas@elpasoco.com

Engineering Division

Review 1 Comments:

PCD-Engineering has the following comments:

1. The Traffic Impact Study estimates that approximately 450 ADT will use Templeton Gap Road northeast of the site, which includes a County-owned and maintained segment. A link analysis was not found in the TIS; however, it is apparent that repairs and improvements are needed to Templeton Gap Road to provide the appropriate standard cross-section needed for the additional traffic.

2. County permits and plan review will be needed for construction of the necessary improvements to the County-owned and maintained portion of Templeton Gap Road unless there is another agreement between the City and the County, or the City annexes the County segment.

(No comments on drainage.)

Additional comments may be provided by the County Engineer.

-- Jeff Rice - 719-520-7877

County Engineer (Public Works)

Additional comments may be provided by the County Engineer.

Mercedes Rivas, Planner II

El Paso County Development Services

2880 International Circle, Colorado Springs, CO, 80910

(719) 520-6447