FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal                 Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: June 18, 2026

To: EDARP

C/O: Kari Parsons

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-6306

Email: kariparsons@elpasoco.com

Project Name: Antler Range Filing No. 1

File Prefix: SF-Final Plat

Parcel/s: 42180000022

File Number: SF264

This letter serves as final plat review comments. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code and amendments.

- Water supply will be from the fire hydrants located inside Meridian Ranch subdivision during phase I of this project using Falcon Fire Protection District’s hauled water procedures. A water cistern (30,000-gallons) will be installed at the beginning of phase II.

- Falcon Fire Protection Districts Community Wildfire Protection Plan (CWPP) unfortunately is from 2016. If an updated report is needed, Antler Ridge will have to contract that out to a third party.

- Phase I roads are approved by Falcon Fire Protection District.

- Using the wildfire risk viewer from the Colorado State Forest Atlas, phase I and phase II are within the moderate intensity scale, small areas show low intensity and high intensity. After the construction is completed, the entire subdivision should show low intensity. Burn probability shows low to moderate. Vegetation shows mostly grassland, small areas of Pondarosa pine. Slope shows low.

Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal