FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal	             Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: October 14, 2026

To: EDARP

C/O: Joe Letke

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-7964

Email: joeletke@elpasoco.com

Project Name: Church Bent Grass Meadows Site Development Plan

File Prefix: PPR-Plot Plan Review

Parcel/s: 5301000026 and 5301000033

Zone:

File Number: PPR2622

Review #: 2

This letter serves as comments on the preliminary plan. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code and local amendments.

- Water plan reviewed and approved.

- The two fire hydrant’s locations are approved due to the building having full fire sprinkler system installed.

WATER/FIRE HYDRANT REVIEW FEES:

The Falcon Fire Department collects a cost recovery fee of $264.00 for water/fire hydrant reviews.

We do not accept credit cards. The payment shall be made to the Falcon Fire Protection District via check. The check can be mailed or delivered directly to administration offices located at 7030 Old Meridian Road Falcon, Colorado 80831. Please be advised that any new or future construction documents will not be reviewed by the Falcon Fire Protection District until fees are paid in full.

Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal