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        Lieutenant/Fire Marshal	             Curtis L. Kauffman
           Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139


Date: October 14, 2026

To: EDARP		
C/O: Joe Letke
Planning & Community Development
2882 International Circle, Suite 110
Colorado Springs, CO 80910
Phone: 719-520-7964
Email: joeletke@elpasoco.com 


Project Name: Church Bent Grass Meadows Site Development Plan
File Prefix: PPR-Plot Plan Review
Parcel/s: 5301000026 and 5301000033
Zone: 
File Number: PPR2622
Review #: 2


This letter serves as comments on the preliminary plan. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code and local amendments. 

1) Water plan reviewed and approved. 
2) The two fire hydrant’s locations are approved due to the building having full fire sprinkler system installed.


WATER/FIRE HYDRANT REVIEW FEES: 
The Falcon Fire Department collects a cost recovery fee of $264.00 for water/fire hydrant reviews.

We do not accept credit cards. The payment shall be made to the Falcon Fire Protection District via check. The check can be mailed or delivered directly to administration offices located at 7030 Old Meridian Road Falcon, Colorado 80831. Please be advised that any new or future construction documents will not be reviewed by the Falcon Fire Protection District until fees are paid in full. 


Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter. 


Sincerely,							

Curtis L. Kauffman

Curtis L. Kauffman						
Fire Prevention Division
Lieutenant/Fire Marshal
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