EA File No. _21136 Waterside_

PCD-Engineering Meeting Notes

| EA Meeting Date/Time: | Wednesday, 8/11/2021 12:00 |  |  |
| --- | --- | --- | --- |
| Parcel Number: | 7111404112 7111404193 |  |  |
| Address./Plat No./Acre: | Woodmoor Rd |  |  |
| Project Manager/Phone: | Ryan Howser (719) 520-6049 |  |  |
| EA Engineer/Phone: | Lupe Packman (719) 520-7550 |  |  |

Application/Land Use Type:

## IMPORTANT NOTE:

These Engineering meeting notes are based on the information provided by the Applicant and reasonable preliminary research.  The County requirements and policies in effect at the time of the meeting may change prior to the project submittal date, and the requirements and policies in effect at the date of submittal shall apply.  Based on the applicant-provided information and preliminary research, these notes are the best estimate of the requirements expected to be met by the Applicant.  The actual requirements may change based on project revisions, new information, or constraints that were unavailable or overlooked at the time of the Early Assistance meeting.  It is solely the Applicant’s responsibility to research and be familiar with state and federal laws and permitting requirements; the County’s regulations, codes and criteria; the requirements of other applicable local, state or federal agencies; and any governing documents that apply to the project, including previous drainage and transportation studies and previous land use approvals and conditions. Reference links are provided at the end of this document.

REQUEST

New PUD zoning and PUD Preliminary Plan for townhomes.

Drainage Impacts

Requirements

| ☒ | Preliminary/Final Drainage Report/Letter | ☒ | Full Spectrum Detention |
| --- | --- | --- | --- |
| ☐ | Master Development Drainage Plan | ☒ | Permanent Water Quality |
| ☐ | Drainage Basin Planning Study | ☐ | Downstream Conveyance Analysis (to include possible offsite improvements) |
| ☒ | Grading & Erosion Control Plan/Stormwater Management Plan | ☐ | Floodplain Impacts |
| ☒ | Erosion and Stormwater Quality Control Permit (ESQCP) | ☐ | Special Districts/Water Quality Authority Areas |
| ☐ | Builder’s Erosion and Stormwater Quality Control Permit (BESQCP) | ☐ | Deviation Request |
| ☐ | Pre-Development Site Grading Form | ☒ | Public Improvements |
| ☒ | Financial Assurance Estimate |  |  |

| Basin Name/Studied | Basin Fee* | Bridge Fee* |
| --- | --- | --- |
| Dirty Woman Creek | $19,752 | $1,080 |

* Per impervious acre, collected prior to recordation of Final Plat.

- A 25% fee reduction applies for Low Density Lots (2.5 acres and greater lot sizes).

Drainage Notes:

- Please contact Keith Curtis for any requirements relating to the adjacent floodplain AE.

- Requirements:

  - Drainage report prepared by a professional engineer licensed in the state of Colorado.

    - Drainage fees will be required.

  - Land disturbance of 1 acre or greater or 500 cy triggers:

    - ESQCP

    - GEC plans, GEC checklist, SWMP, BMP agreement, FAE, PBMP app, and SWMP checklist

  - Land disturbance of greater than 1 acre triggers water quality:

    - Water quality and detention.

    - SDI sheet and MS4 post construction form.

- Improvements to the lake shore might be necessary. Per original drainage report rip rap was going to be installed on lake shore.

Traffic Impacts

REQUIREMENTS

| ☒ | Traffic Impact Study/Memorandum | ☒ | Road Impact Fee ☐County/CDOT project coordination required |
| --- | --- | --- | --- |
| ☒ | Road Construction Plans | ☒ | Driveway Access Permit |
| ☒ | Public Improvements | ☐ | Signal Warrant Study |
| ☐ | Deviation Request | ☐ | Joint Access Easement |

| Adjacent Road Name |  | Ex. ROW (ft) | Surface | 2040 MTCP |  |  | 2060 MTCP |  |  | Required Intersection Spacing (ft) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Classification | ROW | Dedication | Classification | ROW | Potential Preservation |  |
| Woodmoor Drive |  | 80 | Paved | Maj Collector | 90 | 45’ |  |  |  |  |
| Deer Creek Road |  | 60 | Paved | Rural local | 60 | 0’ |  |  |  |  |
| Other (i.e. multi-jurisdictional): |  |  |  |  |  |  |  |  |  |  |
| Metro District | Choose an item. |  |  |  |  |  |  |  |  |  |

Traffic Notes:

- Traffic study will be required.

  - TIS should analyze the need for turn lanes on Woodmoor Drive and Deer Creek Rd.

  - ROW dedication will be required along Woodmoor Drive, 45’.

  - Access off Deer Creek Drive will not be allowed.

  - Access on Woodmoor will have to be reconfigured to align with school access point.

  - Outside agency review traffic fees for full tis range from: $2317-$3902 and intermediate tis fees range from: $1287-$2152. Usually projects that proposed 300 dwelling units or more will be outsourced.

- Road impact fees will be due at building permit.

COUNTY CODES AND CRITERIA:

El Paso County Land Development Code (LDC) (2016): https://planningdevelopment.elpasoco.com/land-development-code/

El Paso County Engineering and Drainage Criteria Manuals (ECM) (2017) & (DCM) Volumes 1 and 2 and Update:

https://planningdevelopment.elpasoco.com/planning-community-development/engineering/#1519834440345-f2ddfd20-0d90

El Paso County 2016 Major Transportation Corridors Plan Update (MTCP) (2016): https://publicworks.elpasoco.com/road-bridge-planning/mtcp/

El Paso County Road Impact Fee Program: https://publicworks.elpasoco.com/road-impact-fees/

El Paso County Development Fees: https://planningdevelopment.elpasoco.com/#1515613078895-69552b09-44a4

El Paso County Projects (EDARP):  https://epcdevplanreview.com/Public

El Paso County Municode Library: https://library.municode.com/co/el_paso_county

Assessor’s Information

Assessor’s Data:  https://property.spatialest.com/co/elpaso/#/

Assessor’s Map:  https://community.spatialest.com/co/elpaso/#/Property-Search/

Drainage Links:

Mile High Flood District: http://MHFD.org

Detention Pond Compliance Website: https://maperture.digitaldataservices.com/gvh/?viewer=cswdif

State DWR: http://water.state.co.us/SURFACEWATER/DAMSAFETY/Pages/DamSafety.aspx

NOAA Rainfall: https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html?bkmrk=co

Floodplain: https://www.pprbd.org/Download/Floodplain#floodplainHandouts

https://pprbd.maps.arcgis.com/apps/webappviewer/index.html?id=1d9243f3606542159a0a418070b08686

https://msc.fema.gov/portal/advanceSearch

Fountain Creek Watershed: http://www.fountain-crk.org/

State Transportation Links

Colorado Department of Transportation (CDOT) M&S Standards and Specifications, Access Code and Permit:

  - https://www.codot.gov/business/designsupport/standard-plans

  - https://www.codot.gov/business/permits/accesspermits

  - https://www.codot.gov/business/permits/accesspermits/references

Local Governing Authorities

City of Colorado Springs: https://coloradosprings.gov/

City of Fountain: https://www.fountaincolorado.org/

Town of Calhan: http://calhan.co/

Green Mountain Falls: https://gmfco.elpasoco.com/

Town of Monument: http://www.townofmonument.org/

Town of Palmer Lake: http://www.townofpalmerlake.com/

Contact Information

| CDOT Access Manager | (719)562-5537 |
| --- | --- |
| Work in Right of Way Permit | (719)520-6869 |
| Right of Way Vacation | (719)520-6897 |
| Floodplain Administrator | (719)327-2898 |
| EPC Public Health | (719)578-3199 |
| CDPHE Air Quality Division | (303)692-3100 |
| CDPHE Water Quality Division | (303)692-3500 |
| Cherry Creek Basin Water Quality Authority | (303)239-5400 |

Traffic Information

| Traffic Impact Study (ECM Appendix B)* |  |
| --- | --- |
| Full TIS | ADT > 1,000 or Pk Hr > 100 |
| Intermediate TIS | ADT < 1,000 or Pk Hr < 100 |
| Traffic Memo | ADT ≤ 500 or Pk Hr ≤ 50 |
| No TIS | ADT < 100 or Pk Hr < 10 |

*An approved TIS that has been prepared in the last three years may be revised or updated where a proposed access is changed or a change in the proposed action may result in a new trip generation that exceeds the original trip generation estimates. An amendment letter is required.

**If the original TIS is older than three years, an entirely new TIS shall be prepared.

***Any submitted TIS is subject to third party review based on size and complexity, in which additional fees will be assessed to the applicant.

The applicant is responsible for obtaining any necessary approvals for impacts within other jurisdictions. It is recommended that the applicant approach the jurisdiction early in the development process for any additional requirements. If the proposal is impacted by an El Paso County Department of Public Works project, coordination with DPW is required.

Drainage Report/Plan Information

Drainage Letter Report – With a Re-plat, Minor Sub or Plot Plan (DCM Section 4.5) where a final drainage report has previously been approved.

Drainage Basin Planning Study (DBPS) – May be required with a very large development

Master Development Drainage Plan (MDDP) – Required with phased development greater than 10 acres (may be required with Sketch Plan) (DCM Section 4.2)

Preliminary Drainage Report (PDR) – Required with a Preliminary Plan (DCM Section 4.3)

Final Drainage Report (FDR) – Required with a Final Plat (DCM Section 4.4) Detention/Water Quality BMP/Downstream Conveyance Information If regional detention or water quality BMPs are not available then on-site facilities will be required. The County Criteria has been updated to require Full-Spectrum Detention/WGCV Facilities. If on-site facilities are required, the applicant will be required to provide access and drainage easements in accordance with Section 11.2.2 of the Drainage Criteria Manual. Private Detention Pond/BMP maintenance agreement(s) and Operations and Maintenance Manual(s) will be required. For special water quality BMPs requirements, see the Engineering Criteria Manual Appendix I. State Engineer’s requirements regarding dams and water rights apply. Post Construction MS4 Form, SDI Worksheet, and Jurisdictional/Non-Jurisdictional dam construction forms are typically required for detention facilities. The project must provide for an acceptable method of storm drainage conveyance and may be required to construct (or contribute an equitable share to the construction of) a storm conveyance or collector system. If the site conveys storm drainage flows through or across an adjacent private property, then the applicant is responsible for obtaining off-site drainage easements in accordance with the Engineering Criteria Manual Section 3.3.3.K. Any offsite easements necessary for the development shall be recorded prior to County Plan approvals. Drainage Master Plan/Floodplain Information If it is undetermined at this time if an adopted Drainage Basin Planning Study or Master Plan exists in this area, the applicant is responsible for researching the appropriate information.

If the subdivision application impacts the FEMA floodplain, a FEMA Letter of Map Revision may be required. If the site is in or near a floodplain, contact the Regional Floodplain Administrator for allowed floodplain uses and procedural requirements. It is the Applicant’s responsibility to research the effects and implications of developing in or near a floodplain, including limited uses, floodplain development permits, geotechnical, wetland and wildlife studies, structural requirements, flood insurance and potential future floodplain mapping updates. FEMA's FIRM maps may be out of date or at a low level of accuracy.

If the site lies within the Cherry Creek Basin Water Quality Authority area and is not rural density, the applicant should discuss any concerns related to the development with the CCBWQA’s consultant.

If the site lies within the Fountain Creek watershed, the District has authority over the floodplain impacts and is advisory to the County on uses outside of the floodplain. The applicant should discuss any concerns related to the development with District staff.

Grading, Erosion, and Sediment Control Information

The Grading and Erosion Control Plan must be prepared in accordance with Drainage Criteria Manual Vol. 2 and the County checklist.

An Erosion and Stormwater Quality Control Permit (ESQCP) is required for construction activities that result in land disturbance of greater than or equal to one acre. An ESQCP is also required for construction activities that result in less than one acre if the activity is part of a larger common plan of development or sale that would disturb one acre or more of ground surface (ECM 1.4.1). Refer to Table I-2 in the Engineering Criteria Manual to determine applicability of an ESQCP. An application for an ESQCP shall be accompanied by the following:

- Stormwater Management Plan

- Permit Fee

- Financial Surety

- Statement of Certification

- Operation and Maintenance Plan

- Maintenance Agreement

- Application Information

Please refer to the Engineering Criteria Manual Appendix I (1.4.1A) for further information and criteria on the above mentioned items.

A Builder’s Erosion and Sediment Quality Control Permit (BESQCP) is required only for a single family residence or duplex site that has < 1 acre of disturbed areas and the site is currently covered by an ESCQP and site is not in sensitive area. Refer to Table I-2 in the Engineering Criteria Manual for further information on sensitive areas and Section I.4.2 for information on the BESQCP application.

Neither an ESQCP nor BESQCP are required for a single family residence or duplex building site which disturbs < 1 acre and is not part of a larger project or in a sensitive area.

If a County Construction Activity permit is required, contact the El Paso County Department of Health and Environmental for further information regarding the permit. Construction activities that disturb one or more acres are required by the Environmental Protection Agency to obtain a Construction Stormwater Permit. Contact the Colorado Department of Public Health & Environment Water Quality Control Division for further information regarding the permit. All land development activities greater than twenty-five (25) acres or with construction duration longer than six (6) months must obtain an Air Pollution Emission Notice and Emissions Permit. Contact the Colorado Department of Public Health & Environment Air Quality Control Division for more information regarding the permit.

Public Improvements Information

If public improvements are required, the applicant will be required to enter into a Subdivision Improvement Agreement (SIA) or a development agreement (if the project is not a subdivision) with the County. Refer to the El Paso County Land Development Code for information on the SIA and the ECM for the required format of the associated Financial Assurance Estimate. All forms are available online.

Construction drawings for the required public improvements must be reviewed and approved by PCD and the County Engineer. All Construction drawing submittals shall adhere to the criteria set forth in the ECM. A construction plan review fee will be assessed when the plans are submitted for review.

Geotechnical reports for earthwork and pavement designs must be reviewed and approved.  All submittals must adhere to the criteria set forth in the ECM.

Any work within the Right of Way will require a permit from El Paso County Department of Public Works.

Any Fire cistern(s) and mailbox kiosks need to be shown on the construction drawings.

Deviations

All engineering designs and studies shall be performed in conformance with adopted codes, standards and criteria. Any deviations are to be formally identified and requested in writing, with justification provided per ECM Section 5.8. All deviation requests must be approved by the ECM Administrator prior to submitting the application for review, or delays in the review and additional fees may result. The Applicant must submit adequate justification for consideration of the request(s).

Metro District Fees

| Woodmen Road Metro District | Central Marksheffel Metro District | Lorson Ranch Metro District | Constitution Heights Metro District |
| --- | --- | --- | --- |
| - Property in district pays no fee - After December 31, 2020 no property in the Amended Service Area shall be permitted to join the WRMD, and shall participate fully in the Fee Program. - As of January 1, 2021 and until either bonds retire or December 31, 2027, whichever occurs sooner, El Paso County must pay a portion of the Road Impact Fee it collects from property in the Amended Service Area that receives final plat approval to WRMD. | - Property in district pays no fee - District granted $2.9 million in Fee Program Credit - Fee Program will pay annual credit reimbursements to District, or can sell credits | - Property in district pays full fee - District granted $4.1 million in credit - Credits used toward future development, can apply for reimbursement, can sell credits | - Property in district pays full fee - District granted $3.1 million in credit - Used toward future development, can sell credits, NO reimbursement - County will collect building permit fees for reimbursement of PPRTA improvements to Marksheffel Road from property within District and some property outside District – Credit given toward Impact Fee for amount of building permit fee paid. |

*Properties within the Meridian Crossing subdivision are not subject to the county wide road impact fee.