FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Inspector II           Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: March 10, 2025

To: EDARP

C/O: Miranda Benson

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone Number: 719-520-7940

Email: mirandabenson2@elpasoco.com

Project Name: T-Mobile Stealth Tower Co-Locate

File Prefix: TWR-Tower

Parcel/s: 5136401040

File Number: TWR257

Comments:

- Address numbers shall be located and attached to the fence gate.

- If not already installed, T-Mobile shall purchase one Knox pad lock. All-Weather Padlock – Long Shackle, ASTM Grade 6 stainless steel shackle 3-7/8” high x 7/16” diameter, outdoor/indoor use. Model # KLS-3781. This is for the gate. The padlock shall be shipped to the Falcon Fire Protection District.

NOTE:

- All new building/equipment plans shall be submitted to the Falcon Fire Protection District and the Colorado Springs Fire Department construction services (building, fire alarm system, fire sprinkler system, and Hazardous material etc.).

- Permits – Insure all applicable permits are obtained from the Pikes Peak Regional Building Department (PPRBD) and the Colorado Springs Fire Department construction services.

Please feel free to contact me if you have any questions.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Inspector II