FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Inspector II           Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: April 18, 2025

To: EDARP

C/O: Ashlyn Mathy

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Email: ashlynmathy2@elpasoco.com

Project Name: 12825 Judge Orr Road-TWR Equipment Swap

File Prefix: TWR-Tower

Parcel/s: 4305006003

File Number: TWR2511

Comments:

- No address numbers found at the entrance from Judge Orr Road. Address numbers shall be posted and visible from Judge Orr Road.

- International Fire Code (IFC), 2021 edition:

  - Section 505.1. Address Identification. New and existing buildings shall have approved address numbers, building numbers or approved building identification placed in a position that is plainly legible and visible from the street or road fronting the property. These numbers shall contrast with their background. Address numbers shall be Arabic numbers or alphabetical letters. Numbers shall be a minimum of five (5) inches (127 mm) high with a minimum stroke width of one half (0.5) inch (12.7 mm). Where access is by means of a private road and the building cannot be viewed from the public way, a monument, pole or other means of signage shall be used to identify the structure.”

Please feel free to contact me if you have any questions.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Inspector II