# Preliminary Acceptance Punch List

# Villages at Lorson Ranch F1 and CON #2447

Date: 8/10/2025

Dear Jeff Mark,

This is your Preliminary Acceptance Punchlist generated by El Paso County Department of Public Works Development Services Team for the project referenced above. This Punchlist was generated based on observations during the Preliminary Acceptance Walk conducted on 9/10/2025.

Please be advised that El Paso County is currently holding Construction Surety for this project in the amount of $1,323,423.40. Construction Surety will not be released until all items documented on the Punchlist have been addressed and all other requirements for Preliminary Acceptance have been met. Please refer to the Punchlist for identification of the specific items needing to be addressed for Preliminary Acceptance.

The Punchlist is good for 6 months from the date issued this punch list will expire on 3/10/2025. Once you believe all Punchlist items have been addressed, please contact Amanda to schedule a follow-up Preliminary Acceptance Walk. Amanda can be reached at 719-352-1798/ Amandarivera2@elpasoco.com.

# Punch List Items

Wires on the Electric box on the east sidewalk on Carriage Meadows Dr need to be cut

3 signs missing 2 Do not Enter signs and a No truck sign.

As-Builts need to be submitted prior to Preliminary Acceptance they need to include

- CAD Files

- As-Built Plans

- Concrete Testing

- Density Testing

- Public Improvements Certification Letter

- Utility Acceptance Letter

- PCM Certification Letter and Revised MHFD Calcs

Thank You

|  | Amanda Rivera Inspector ll Department of Public Works Phone 719-352-1798 Email Amandarivera2@elpasoco.com https://publicworks.elpasoco.com/ |
| --- | --- |