| Planning and Community Development Department 2880 International Circle Colorado Springs, Colorado 80910 Phone: 719.520.6300 Fax: 719.520.6695 Website www.elpasoco.com; DEVIATION REQUEST AND DECISION FORM. Updated: 6/26/2019. PROJECT INFORMATION |
| --- |
| Project Name : | Long Horn Ranch Access |  |  |
| Schedule No.(s) : | 3500000085 & 3500000140 |  |  |
| Legal Description : | A tract of land described as all of Section 27, the south half and the south half of the north half of Section 28, all of Section 33, all of Section 34 and the west half of Section 35, Township 15 S, Range 63 W of the 6th Principal Meridian, El Paso County, CO |  |  |
| APPLICANT INFORMATION |  |  |  |
| Company : | All Terrain Engineering |  |  |
| Name : | Nicholas Jokerst |  |  |
| ☐ Owner ☒ Consultant ☐ Contractor |  |  |  |
| Mailing Address : | 1004 W Van Buren St |  |  |
| Phone Number : | 530-391-7635 |  |  |
| FAX Number : | n/a |  |  |
| Email Address : | njokerst@allterraineng.com |  |  |
| ENGINEER INFORMATION |  |  |  |
| Company : | All Terrain Engineering |  |  |
| Name : | Nicholas Jokerst | Colorado P.E. Number : | 59273 |
| Mailing Address : | 1004 W Van Buren St. |  |  |
| Phone Number : | 530-391-7635 |  |  |
| FAX Number : | n/a |  |  |
| Email Address : | njokerst@allterraineng.com |  |  |

OWNER, APPLICANT, AND ENGINEER DECLARATION To the best of my knowledge, the information on this application and all additional or supplemental documentation is true, factual and complete. I am fully aware that any misrepresentation of any information on this application may be grounds for denial. I have familiarized myself with the rules, regulations and procedures with respect to preparing and filing this application. I also understand that an incorrect submittal will be cause to have the project removed from the agenda of the Planning Commission, Board of County Commissioners and/or Board of Adjustment or delay review until corrections are made, and that any approval of this application is based on the representations made in the application and may be revoked on any breach of representation or condition(s) of approval. _______________________________________________________________ ____________________________ Signature of owner (or authorized representative) Date ┌ ┐ Engineer’s Seal, Signature And Date of Signature └ ┘

DEVIATION REQUEST (Attach diagrams, figures, and other documentation to clarify request)

A deviation from the standards of or in Section DCM 6.4.2  of the Drainage Criteria Manual (DCM) is requested.

Identify the specific DCM standard which a deviation is requested:

Engineering Criteria Manual – Appendix I.4.1 – Erosion and Stormwater Quality Control Permit

State the reason for the requested deviation:

The proposed private access to the owner’s property will be constructed of native soil and will not negatively affect existing drainage patterns or impervious.

Explain the proposed alternative and compare to the DCM standards (May provide applicable regional or national standards used as basis):

There is no alternative proposed with this deviation request. El Paso County stormwater indicated after consulting with CDPHE & the EPA that this type of disturbance may be excluded from typical ESQCP requirements due to the nature of the disturbance and the scale of disturbance relative to the land area.

LIMITS OF CONSIDERATION

(At least one of the conditions listed below must be met for this deviation request to be considered.)

☒ The ECM standard is inapplicable to the particular situation. ☐ Topography, right-of-way, or other geographical conditions or impediments impose an undue hardship and an equivalent alternative that can accomplish the same design objective is available and does not compromise public safety or accessibility. ☒ A change to a standard is required to address a specific design or construction problem, and if not modified, the standard will impose an undue hardship on the applicant with little or no material benefit to the public. Provide justification:

The ECM standard isn’t applicable in this situation due to the regional limitations. A typical Grading & Erosion Control plan requires the stabilization and vegetation levels to be brought to 70% of pre-disturbance conditions. The land in question is not developed nor irrigated and would not be feasible to seed and establish vegetation in disturbed areas. Additionally, the owner proposes to create an access drive across his property that is thousands of acres. While he plans to complete this work with heavy machinery and disturb more than 1 acre, he could drive a personal vehicle back and forth many times to accomplish the same work and not require an ESQCP permit to do so. Furthermore, El Paso County stormwater has indicated hat a formal ESQCP exclusion for this situation si being established and will be live in March 2026.

CRITERIA FOR APPROVAL

Per ECM section 5.8.7 the request for a deviation may be considered if the request is not based exclusively on financial considerations.  The deviation must not be detrimental to public safety or surrounding property.  The applicant must include supporting information demonstrating compliance with all of the following criteria:

The deviation will achieve the intended result with a comparable or superior design and quality of improvement.

The proposed access will not result in an inferior design or quality of improvement. At the access locations connection to public ROW, culverts & private signs are provided to support the improvements.

The deviation will not adversely affect safety or operations.

The safety and operations of the public roads adjacent to the access improvements will not be affected by the proposed access. Private signage is provided to indicate the location of the access points & storm sewer culverts are provided to facilitate historic drainage patterns.

The deviation will not adversely affect maintenance and its associated cost.

The proposed access will not require maintenance or cost by El Paso County.

The deviation will not adversely affect aesthetic appearance.

The deviation will not adversely affect aesthetic appearance as the site is thousands of acres of private land. There are already dirt two-tracks that traverse the property from historic use. The addition of the proposed access will blend with the existing condition of the site.

The deviation meets the design intent and purpose of the ECM standards.

The deviation was recommended by El Paso County stormwater and therefore meets the intent and purpose of the ECM standards.

The deviation meets the control measure requirements of Part I.E.3 and Part I.E.4 of the County’s MS4 permit, as applicable.

The site also utilizes the “Large lot water quality exclusion” which limits the maximum amount of impervious area allowed on the surrounding residential lots. The impervious attributed to the access will not exceed 10% per lot.

Review and Recommendation:

Approved by the ECM Administrator

This request has been determined to have met the criteria for approval.  A deviation from Section __________________ of the DCM is hereby granted based on the justification provided.

┌ ┐ └ ┘

Denied by the ECM Administrator

This request has been determined not to have met criteria for approval.  A deviation from Section __________________ of the DCM is hereby denied.

┌                                                                                                                       ┐

└                                                                                                                       ┘

ECM ADMINISTRATOR COMMENTS/CONDITIONS:

Purpose

The purpose of this resource is to provide a form for documenting the findings and decision by the ECM Administrator concerning a deviation request. The form is used to document the review and decision concerning a requested deviation. The request and decision concerning each deviation from a specific section of the ECM shall be recorded on a separate form.

Background

A deviation is a critical aspect of the review process and needs to be documented to ensure that the deviations granted are applied to a specific development application in conformance with the criteria for approval and that the action is documented as such requests can point to potential needed revisions to the ECM.

Applicable Statutes and REGULATIONS

Section 5.8 of the ECM establishes a mechanism whereby an engineering design standard can be modified when if strictly adhered to, would cause unnecessary hardship or unsafe design because of topographical or other conditions particular to the site, and that a departure may be made without destroying the intent of such provision.

Applicability

All provisions of the ECM are subject to deviation by the ECM Administrator provided that one of the following conditions is met:

The ECM standard is inapplicable to a particular situation.

Topography, right-of-way, or other geographical conditions or impediments impose an undue hardship on the applicant, and an equivalent alternative that can accomplish the same design objective is available and does not compromise public safety or accessibility.

A change to a standard is required to address a specific design or construction problem, and if not modified, the standard will impose an undue hardship on the applicant with little or no material benefit to the public.

Technical Guidance

The review shall ensure all criteria for approval are adequately considered and that justification for the deviation is properly documented.

LIMITS OF APPROVAL

Whether a request for deviation is approved as proposed or with conditions, the approval is for project-specific use and shall not constitute a precedent or general deviation from these Standards.

REVIEW FEES

A Deviation Review Fee shall be paid in full at the time of submission of a request for deviation.  The fee for Deviation Review shall be as determined by resolution of the BoCC.