FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal 	             Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: February 18, 2026

To: EDARP

C/O: Maria Lancto

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-6447

Email: MariaLancto@elpasoco.com

Project Name: Waterbury Lift Station

File Prefix: PPR-Plot Plan Review

Parcel/s: 4200000366, 4200000368, and 4200000417

Zone:

File Number: PPR2539

You are responsible for complying with all section’s, codes and references with the fire code based on the 2021 International Fire Code.

- Site access and a turn-around has been added-approved.

- Use low-flammable plants/tress on the property.

- A water plan shall be submitted to Falcon Fire Protection District along with a water flow report after the fire hydrant is installed.

Please let me know if there are any questions and/or concerns. You may contact me via the email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal