| Planning and Community Development Department 2880 International Circle Colorado Springs, Colorado 80910 Phone: 719.520.6300 Fax: 719.520.6695 Website www.elpasoco.com; DEVIATION REQUEST AND DECISION FORM. Updated: 6/26/2019. PROJECT INFORMATION |
| --- |
| Project Name : | Hillpointe Apartments at Peterson Road |  |  |
| Schedule No.(s) : | 5408007001, 5408007004, 5408007008 |  |  |
| Legal Description : | Lot 1 Cimarron Hills Southeast Mixed Use Filing No. 1 |  |  |
| APPLICANT INFORMATION |  |  |  |
| Company : | Hillpointe, LLC. |  |  |
| Name : | Mark Foster |  |  |
| ☒ Owner ☐ Consultant ☐ Contractor |  |  |  |
| Mailing Address : | 3773 Cherry Creek Drive North Denver, Colorado 80209 |  |  |
| Phone Number : | 303-910-5470 |  |  |
| FAX Number : |  |  |  |
| Email Address : | MFoster@hillpointe.com |  |  |
| ENGINEER INFORMATION |  |  |  |
| Company : | HR Green Development, LLC. |  |  |
| Name : | Richie Lyon, PE | Colorado P.E. Number : | 53921 |
| Mailing Address : | 1975 Research Parkway, Suite 160 Colorado Springs, Colorado 80921 |  |  |
| Phone Number : | 719-318-0871 |  |  |
| FAX Number : |  |  |  |
| Email Address : | Richie.Lyon@hrgreen.com |  |  |

OWNER, APPLICANT, AND ENGINEER DECLARATION To the best of my knowledge, the information on this application and all additional or supplemental documentation is true, factual and complete. I am fully aware that any misrepresentation of any information on this application may be grounds for denial. I have familiarized myself with the rules, regulations and procedures with respect to preparing and filing this application. I also understand that an incorrect submittal will be cause to have the project removed from the agenda of the Planning Commission, Board of County Commissioners and/or Board of Adjustment or delay review until corrections are made, and that any approval of this application is based on the representations made in the application and may be revoked on any breach of representation or condition(s) of approval. _______________________________________________________________ ____________________________ Signature of owner (or authorized representative) Date ┌ ┐ Engineer’s Seal, Signature And Date of Signature └ ┘

DEVIATION REQUEST (Attach diagrams, figures, and other documentation to clarify request)

A deviation from the standards of or in Section ________________ of the Engineering Criteria Manual (ECM) is requested.

Identify the specific ECM standard which a deviation is requested:

LDC 6.2.2 Permanent Structures within Landscape Buffer at south of the site. Permanent structures are detached garage structure and a pickleball court with fencing. These fall within the 25’ landscape buffer at the south of the development, near Interstate 25 right-of-way. Alternative landscape is proposed for screening and to compensate for the encroachment of these structures. ECM 2.4.1 Access Design Criteria The primary shared access on Meadowbrook Parkway for Lot 1 and adjacent future development Tract B is approximately 550’ feet from the intersection of Peterson Road and Meadowbrook Parkway which is within the 660’ access spacing requirement from a minor arterial roadway.

State the reason for the requested deviation:

Siting in other locations of the site is difficult and pose noise pollution issues for residences. The pickleball court is to be sited away from apartments as well as existing and future residences and the location chosen is adjacent to a pond basin and an interstate which is already a high noise area due to high traffic volumes. The garage is also sited for the southernmost apartments for ease of access. The shared primary access location is the most feasible location for an access to the Lot 1 and future development Tract B sites. The profile of Meadowbrook Parkway has slopes exceeding 5.0% for the roadway alignment area east of the proposed access location and an access to Lot 1 within that area would be on the inside of a horizontal curve which is not conducive to sight lines and distances. The safest and most practical location for the proposed primary shared access is the chosen location, approximately 550’ east of the intersection of Meadowbrook Parkway and Peterson Road.

Explain the proposed alternative and compare to the ECM standards (May provide applicable regional or national standards used as basis):

Alternatives include near residences or the frontage by Meadowbrook Parkway for siting. However, there is a 30’ utility easement owned by Colorado Springs Utilities that we have coordinated with and that easement is to remain clear of permanent structures for this project design. There will be future abandonment of CSU sanitary line in this easement that traverses the site, but the timing is such that this development will be built prior to that activity. Accommodations for the pickleball court and garage are requested with this site hardship in mind. The siting of these permanent structures is only within the Landscape Buffer, not building setback. Therefore, alternative landscaping can be accommodated. Alternatives were explored and discussed with El Paso County Planning, Engineering, and Public Works staff. Hardship to the subdivision for the extension of Meadowbrook Road is known due to the high elevation point from which it is being extended (east extent) and the horizontal curvature requirements that the County has granted a deviation for as a part of the final plat SF2420. The design of Meadowbrook Parkway limits feasible locations for access to Lot 1. A shared primary access to Lot 1 and future development Tract B was decided upon to reduce the number of access points and push its location as far east, away from the minor arterial roadway of Peterson Road, as possible.

LIMITS OF CONSIDERATION

(At least one of the conditions listed below must be met for this deviation request to be considered.)

☐ The ECM standard is inapplicable to the particular situation. ☒ Topography, right-of-way, or other geographical conditions or impediments impose an undue hardship and an equivalent alternative that can accomplish the same design objective is available and does not compromise public safety or accessibility. ☒ A change to a standard is required to address a specific design or construction problem, and if not modified, the standard will impose an undue hardship on the applicant with little or no material benefit to the public. Provide justification:

Siting of the pickleball court of noise and spacing as well as the garage structure for spacing, is logically to the south of the site near Highway 24. Justification is met with minimal encroachment into only the Landscape Buffer (not the building setback) which can be overcome with alternative landscape design to compensate for the encroachment areas. Topography for the design of Meadowbrook Parkway as well as horizontal curves that were required for its design limit feasibility for access along the roadway.

CRITERIA FOR APPROVAL

Per ECM section 5.8.7 the request for a deviation may be considered if the request is not based exclusively on financial considerations.  The deviation must not be detrimental to public safety or surrounding property.  The applicant must include supporting information demonstrating compliance with all of the following criteria:

The deviation will achieve the intended result with a comparable or superior design and quality of improvement.

The deviation will achieve the intended result by implementing alternative landscaping of the buffer area that is encroached upon with additional plantings to screen this area. The deviation for the roadway access point will achieve the intended result by following recommendations made in the Traffic Impact Study as a result of directing traffic to this chosen location.

The deviation will not adversely affect safety or operations.

The deviation will not adversely affect safety or operations. The request is for minimal encroachment into the landscape buffers and there is no violation of building setbacks.

The deviation will not adversely affect maintenance and its associated cost.

The deviation will not adversely affect maintenance and its associated cost as these improvements are private.

The deviation will not adversely affect aesthetic appearance.

The deviation will not adversely affect aesthetic appearance as alternative landscaping is proposed to meet criteria. Similarly, the primary access will not be adversely affected in its aesthetic appearance with a deviation for a shorter spacing distance.

The deviation meets the design intent and purpose of the ECM standards.

The deviation meets the design intent and purpose of the ECM standards by still accommodating a suitable landscape buffer in this area. The deviation for access spacing meets the design intent and purpose of the ECM standards by providing access at a safe location with sufficient sight line distances.

The deviation meets the control measure requirements of Part I.E.3 and Part I.E.4 of the County’s MS4 permit, as applicable.

The deviation meets the control measure requirements of Par I.E.3 and Pari I.E.4 of the County’s MS4 permit, as applicable. WQ and detention standards are met for the development as a whole and this deviation does not violate those requirements.

Review and Recommendation:

Approved by the ECM Administrator

This request has been determined to have met the criteria for approval.  A deviation from Section __________________ of the ECM is hereby granted based on the justification provided.

┌ ┐ └ ┘

Denied by the ECM Administrator

This request has been determined not to have met criteria for approval.  A deviation from Section __________________ of the ECM is hereby denied.

┌                                                                                                                       ┐

└                                                                                                                       ┘

ECM ADMINISTRATOR COMMENTS/CONDITIONS:

Purpose

The purpose of this resource is to provide a form for documenting the findings and decision by the ECM Administrator concerning a deviation request. The form is used to document the review and decision concerning a requested deviation. The request and decision concerning each deviation from a specific section of the ECM shall be recorded on a separate form.

Background

A deviation is a critical aspect of the review process and needs to be documented to ensure that the deviations granted are applied to a specific development application in conformance with the criteria for approval and that the action is documented as such requests can point to potential needed revisions to the ECM.

Applicable Statutes and REGULATIONS

Section 5.8 of the ECM establishes a mechanism whereby an engineering design standard can be modified when if strictly adhered to, would cause unnecessary hardship or unsafe design because of topographical or other conditions particular to the site, and that a departure may be made without destroying the intent of such provision.

Applicability

All provisions of the ECM are subject to deviation by the ECM Administrator provided that one of the following conditions is met:

The ECM standard is inapplicable to a particular situation.

Topography, right-of-way, or other geographical conditions or impediments impose an undue hardship on the applicant, and an equivalent alternative that can accomplish the same design objective is available and does not compromise public safety or accessibility.

A change to a standard is required to address a specific design or construction problem, and if not modified, the standard will impose an undue hardship on the applicant with little or no material benefit to the public.

Technical Guidance

The review shall ensure all criteria for approval are adequately considered and that justification for the deviation is properly documented.

LIMITS OF APPROVAL

Whether a request for deviation is approved as proposed or with conditions, the approval is for project-specific use and shall not constitute a precedent or general deviation from these Standards.

REVIEW FEES

A Deviation Review Fee shall be paid in full at the time of submission of a request for deviation.  The fee for Deviation Review shall be as determined by resolution of the BoCC.