[image: clip_ large][image: 50th Day Of School Clipart - 50th Day Of School Clip Art , Free ...]FALCON FIRE PROTECTION DISTRICT
Fire Prevention Division
7030 Old Meridian Road
Falcon, Colorado 80831
Business Number: 719-495-4050     Business Fax: 719-495-3112
 
 
[image: 50th Day Of School Clipart - 50th Day Of School Clip Art , Free ...]




        Lieutenant/Fire Marshal                 Curtis L. Kauffman
           Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139


Date: August 12, 2026

To: EDARP		
C/O: Lacey Dean
Planning & Community Development
2882 International Circle, Suite 110
Colorado Springs, CO 80910
Phone: 719-520-7943
Email: LaceyDean2@elpasoco.com


Project Name: 12320 Gull Lane-BOA for size of accessory structure 
File Prefix: BOA-Board of Adjustment
Parcel/s: 4319002024
Zone: RR-5
File Number: BOA267
Review #: 1


This letter serves as comments for the adjustment request. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code, local amendment, and NFPA Standards. 

1) Request that the homeowner have a driveway that will withstand at a minimum of 75,000 pounds of fire apparatus vehicles. 
2) Request that the homeowner install a turn-around between the existing residence and the new building for turning around fire apparatus vehicles. 




Attention Contractor/Applicant:

YOU ARE RESPONSIBLE TO COMPLETE THE FOLLOWING ITEMS. 

Please complete the following items:

1) Permits – Ensure all applicable permits are obtained from the Pikes Peak Regional Building Department (PPRBD). 
2) Follow the Colorado State Forest Service for all mitigation guidelines (plants/trees).


Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter. 


Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman
Fire Prevention Division
Lieutenant/Fire Marshal
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