FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal                 Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: August 12, 2026

To: EDARP

C/O: Lacey Dean

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-7943

Email: LaceyDean2@elpasoco.com

Project Name: 12320 Gull Lane-BOA for size of accessory structure

File Prefix: BOA-Board of Adjustment

Parcel/s: 4319002024

Zone: RR-5

File Number: BOA267

Review #: 1

This letter serves as comments for the adjustment request. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code, local amendment, and NFPA Standards.

- Request that the homeowner have a driveway that will withstand at a minimum of 75,000 pounds of fire apparatus vehicles.

- Request that the homeowner install a turn-around between the existing residence and the new building for turning around fire apparatus vehicles.

Attention Contractor/Applicant:

YOU ARE RESPONSIBLE TO COMPLETE THE FOLLOWING ITEMS.

Please complete the following items:

- Permits – Ensure all applicable permits are obtained from the Pikes Peak Regional Building Department (PPRBD).

- Follow the Colorado State Forest Service for all mitigation guidelines (plants/trees).

Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal