Jimmy Camp Lift Station Improvements: Auxiliary Storage

Description of Project:

Widefield Water and Sanitation District is planning to expand emergency underground storage basins at the Jimmy Camp lift station, intended to store sewage in the case of equipment failures or other emergencies.

The preferred alternative for the storage basins is to acquire additional land to the west of the existing lift station parcel to make space for the storage basins. The proposed storage basins cross into a 100-year floodplain and are near a designated wetland. The first phase of underground storage basins is estimated to have a footprint of approximately 5,000 square feet and hold approximately 0.76 million gallons, with total footprint estimated to be 12,000 square feet holding approximately 1.75 million gallons.

The vacant lot across Glen Spring Drive from the lift station is an alternative location if the floodplain/wetland excludes the proposed location as a viable option but is not the preferred option. There are not any other reasonable locations for the emergency storage basins to be constructed.

The proposed storage basins are part of an overall effort for lift station improvements to accommodate new developments and increasing population that will be served by this lift station. The current capacity of the lift station is 0.8 MGD, projected buildout loading to the lift station will be 3.4 MGD.

Key topics of discussion:

- What are the County’s requirements for construction activities in the floodplain?

- What are the County’s requirements for permanent (below-grade) structures in the floodplain?

- Are there any specific County processes, permits, or submittals we should initiate for approval of structures in the floodplain?