FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal		     Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: January 16, 2026

To: EDARP

C/O: Kylie Bagley

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-

Email: kyliebagley@elpasoco.com

Project Name: Windermere Final Plat

File Prefix: SF-Final Plat

Parcel/s: 5329416011

Zone: RM-30

File Number: SF2530

- The site plan shall show vehicle tracking using a fire department aerial ladder truck and showing the turning radii with the numbers from the previous comment letter (November, 2025).

- Landscaping plan shall be revised showing using Low-Flammability Landscape plants and Ignition-Resistant Landscape Plants. No Junipers or wood mulch within five-feet of the buildings. Use plantings from the Colorado State Forest Service for recommended plantings.

- Resubmit site plan and landscaping plans.

Please let me know if there are any questions and/or concerns. You may contact me via the email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal