# DATE: 4/14/2023

# FILE NUMBER: EPC CDR239 – CDR Pipeline for Northern Delivery System

# RE:  Approval of a CDR Plan – 1st Review

# Colorado Springs Utilities (Stefan Manning, Contact Info:719-668-1854,smanning@csu.org)

Action Items:

- Scope of this project does not appear to require any comments by Colorado Springs Utilities. No comments.

Information Items:

- Please contact Customer Contract Administration (CCA) at 719-668-8111 for an estimate of development charges, fees, Recovery Agreement Charges or other utility related costs that may apply to this development.

- Any extension of gas facilities required to serve the Applicant’s development must be in accordance with the Colorado Springs Utilities Line Extension and Service Standards. Utility service plans and installation shall be in accordance with City Codes and the Colorado Springs Utilities’ tariffs and policies.

- With respect to gas facilities extensions, Colorado Springs Utilities may require the Applicant to advance the cost of the equivalent nominal pipe size needed to serve the development.

- Construction of the gas distribution system will occur incrementally from the point of tie-in at an operational, energized main to the farthest extents of the development. The distribution mains may be installed jointly with electric.

- Applicant must grant easements as required for any existing or proposed utility facilities; and improvements shall not encroach upon any utility easement.  It shall not be permissible for any person to modify the grade of the earth on any easement without the written approval of Colorado Springs Utilities.

- If it is necessary to relocate any existing utility facilities, then such relocation shall be at the Applicant’s expense, and if required, Applicant shall grant new easements for the relocated facilities.

- Improvements, structures and trees must not be located directly over or within 6 feet of any underground gas facilities and shall not violate any provision of the applicable Natural Gas Codes or Colorado Springs Utilities’ policies, which require a minimum clearance of 10 feet from gas mains rated at 150 psi.

- Landscaping shall be designed to provide the required clearances for utility facilities, to allow continuous access for utility equipment, and to minimize conflicts with such facilities.

- Any proposed gas service line pressures in excess of Colorado Springs Utilities’ standard pressure must be approved by the Utilities prior to construction.  Please contact Utilities’ Field Engineering for elevated pressure requests (North Work Center at 719-668-4985 or South Work Center at 719-668-5564).

- Approval of the referenced request(s) shall not be construed as a limitation upon the authority of Colorado Springs Utilities to apply its standards and policies.  Accordingly, if there are any conflicts between the approved drawings and any provision of Colorado Springs Utilities’ standards and policies, then Colorado Springs Utilities’ standards and policies shall apply.

- This item is not in the Colorado Springs Utilities’ Water/Wastewater or electric Service area.