#### MEMORANDUM

DATE:	May 19, 2025

TO:	Kari Parsons, PCD-Project Manager

FROM:	Jeff Rice, DPW-DS-Engineering

719-520-7877

SUBJECT:	SF-25-15 – Deim Subdivision

First Submittal

___________________________________________________________________________

Development Services Engineering Division

DS-Engineering reviews plans and reports to ensure general conformance with El Paso County standards and criteria. The project engineer is responsible for compliance with all applicable criteria, including other governmental regulations. Notwithstanding anything depicted in the plans in words or graphic representation, all design and construction related to roads, storm drainage and erosion control shall conform to the standards and requirements of the most recent version of the relevant adopted El Paso County standards, including the Land Development Code (LDC), the Engineering Criteria Manual (ECM), the Drainage Criteria Manual (DCM), and the Drainage Criteria Manual Volume 2 (DCM2). Any deviations from regulations and standards must be requested, and approved by the ECM Administrator, in writing. Any modifications necessary to meet overlooked criteria after-the-fact will be entirely the developer’s responsibility to rectify.

A written response to all comments and redlines is required for review of the re-submittal.  Please arrange a meeting between the developer’s team and County staff to review and discuss these comments and prepared revisions/responses prior to the next submittal. Additional comments may be generated on items added or revised after the original comments.

General

- Note: All waiver and deviation requests need to be addressed to confirm feasibility on the related issues.

- Note: an updated easement agreement will likely be needed to amend the 1963 agreement for the Franktown-Parker dam and reservoir on the property, to address:

  - Access provisions (unobstructed across the current easement)

  - Floodplain preservation (to clearly state that no land disturbance, including fencing, is allowed in that area)

  - Allowances and other limitations on use

  - Maintenance requirements

  - Potentially, clear and separate disclosures to future lot purchasers regarding easement provisions

- Note: Private road maintenance provisions need to be confirmed; the existing easements do not appear to address maintenance as a roadway, only as a utility easement.

- Note: Any wetland permitting or mitigation associated with this project shall be the responsibility of the developer.

- Note: See Parks comments regarding the proposed trail easement and Hodgen Road ROW dedication/preservation.

Final Channel Design Report (FDR)

- See FDR redlines; one concern is roadway overtopping and potential washout of the only access to the proposed lots east of the drainageway.

Traffic Memo (TIS)

- See TIS redlines; the man concern is the condition and adequacy of the existing private access road.

Channel Construction Plans / GEC Plans

- Note: All applicable deviations need to be approved prior to verification of whether construction plans and other related documents are needed.

Attachments / EDARP uploads

- FDR redlines

- TIS redlines

- CD memo redlines

- LOI redlines, to be uploaded by Planner/PM

- Final Plat redlines, to be uploaded by Planner/PM