# El Paso County 1041 for Major Facility of a Public Utility

# Project Narrative

# Schubert Ranches Solar Major Facility of a Public Utility

# Parcel #s 2400000276, 2400000249, 2400000027

Syrcuit Energy Solutions (Syrcuit) will propose and apply for a 1041 Permit for construction of a Major Facility of a Public Utility. These requirements are listed in Sections 2.303, 2.405, and 5.201 of El Paso County’s Land Development Code.

Syrcuit will propose to construct, operate, and decommission the Schubert Ranches Solar Project, a solar facility capable of generating up to 285 megawatts (MW) alternating current (AC) solar energy.

The proposed Solar Project consists of single-axis tracking ground-mounted solar arrays and associated infrastructure designed on approximately 2,264 acres located in sections 21, 22, 26, 27, and 28 of Township 14 South, Range 62 West. The solar panels will be located on 1,950 acres of the 2,264 total acres.

The Project will be located on three separate parcels as listed below:

- 2400000276 – Schubert Ranches Inc.

- 2400000249 – Schubert Ranches Inc.

- 2400000027 – Schubert Ranches Inc.

Syrcuit has an executed lease with the landowners for use of the lands described above. A memorandum of land lease agreement was recorded with the County in 2024 as Reception number 224052906.

This project has been submitted by Syrcuit in response to Tri-State Generation and Transmission Association, Inc’s (“Tri-State”) 2024 Request for Proposals for Renewable Resources.