FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal                 Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: July 8, 2026

To: EDARP

C/O: Kari Parsons

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone: 719-520-6306

Email: kariparsons@elpasoco.com

Project Name: Marksheffel Crossing Sketch Plan

File Prefix: SKP-Sketch Plan

Parcel/s: 5405000033, 5405000055, and 5404001004 lie within the Falcon Fire Protection District. 5405000049 and 5405000050 lie within the Cimarron Hills Fire Protection District

File Number: SKP262

This letter serves as sketch plan review comments. You are responsible for complying with all sections, codes and references with the fire code based on the 2021 International Fire Code and local amendments. This project lies within two fire protection districts (Cimarron Hills Protection District and Falcon Fire Protection District). Both fire districts have an Auto-Matic mutual-aid agreement signed and we work together very well.

RED: Local Amendments

Blue: Fire Department Comments

- Water for fire protection will be from Cherokee Metro Water District.

- Falcon Fire Protection Districts Community Wildfire Protection Plan (CWPP) unfortunately is from 2016. If an updated report is needed, Rowley Ventures LLC will have to contract that out to a third party.

- Using the wildfire risk viewer from the Colorado State Forest Atlas, these five parcels show lowest, low, and moderate fire intensity. After the construction is completed, the entire subdivision should show lowest fire intensity. Burn probability shows low to moderate. Vegetation shows grassland. Slope shows low.

- Parcel No 1, 2, and 4 lie within the Falcon Fire Protection District. Parcel No. 3a is split between both fire districts.

- Falcon Fire Protection District Station #4 is located at 2710 Capital Drive Colorado Springs, CO 80939. From the fire station to the very southwest corner (Parcel No. 4) of the proposed use-Residential (11.23 acers) is 1.73 miles.

- Cimarron Hills Fire Protection District Station #1 located at 1885 Peterson Road Colorado Springs, CO 80915. From this fire station to the very northeast corner (Parcel No. 3A) of the proposed use-Industrial (30.18 acers) along Marksheffel Road is 2.71 miles.

Please let me know if there are any questions and/or concerns. You may contact me via email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal