September 9, 2026

County File No.: OAR2615

City File No.: SUBD-26-0036

Re: Revel at Wolf Ranch Filing No. 11

To: Molly O’Brien at Molly.obrien@coloradosprings.gov

Department of Public Works, Development Services Engineering Division:

Review 3:

- Indicate if sufficient right of way been dedicated for the future extension of Briargate Parkway.
- Please provide copies of drainage and traffic reports for review when they have been submitted.

Reviewed by:

Charlene Durham, PE

CharleneDurham@elpasoco.com

(719) 520-7951

Department of Public Works, Stormwater Division:

Review 3: EPC DPW Stormwater has the following comments –

- Once available, provide EPC with the drainage report for this project. The drainage report should demonstrate the project has a suitable stormwater outfall and document any downstream impacts to the County.

Reviewed by:

Mikayla Hartford, PE

MikaylaHartford@elpasoco.com

(719) 399-5053

Planning and Community Development Department, Planning Division:

Review 3: To support County DPW’s review comment –

Land Development Code Chapter 8, Section 8.4 (Design Considerations and Standards)

(E) Continuation of Roads and Other Linear Facilities. Divisions of land shall be designed to accommodate the continuation of roads, trails, pedestrian access, utilities and drainage facilities into adjacent property unless there is sufficient justification for an alternative design. The connection shall provide a logical, safe and convenient circulation link for vehicular, bicycle, pedestrian, or equestrian traffic with existing or planned circulation routes and, in particular, to destinations such as schools, parks and business or commercial centers.

Reviewed by:

Miranda Benson

MirandaBenson2@elpasoco.com

(719) 520-7940