FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Marshal                 Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: April 15, 2026

To: EDARP

C/O: Ryan Howser

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone Number; 719-520-6049

Email: ryanhowser@elpasoco.com

Project Name: Sanctuary Filing No. 1 at Meridian Ranch PUDSP Amendment

File Prefix: PUDSP-Combined PUD/Preliminary Plan

Parcel/s: 4200000402 and 4200000450

File Number: PUDSP262

Falcon Fire Protection District has the means and equipment for the additional five-foot increase of height. No other comments or concerns.

NOTE:

- Site/access plans and water/fire hydrant plans shall be emailed to the email at the top of this letter for review.

- Permits – Insure all applicable permits are obtained from the Pikes Peak Regional Building Department (PPRBD).

- On-Site Fire Hydrant Flows – It will be the responsibility of the owners, general contractor, or site manager to have all new fire hydrants, and water systems flow tested. The Fire Code states that all fire hydrants are to be installed and in-service PRIOR to bringing combustibles on site. The fire flow reports shall be emailed to Falcon Fire Protection District (email address at the top of this letter).

- Follow the 2021 edition of the International Fire Code (IFC), chapter 33-Fire Safety During Construction and Demolition shall be adhered to at all times.

- Follow the Colorado State Forest Service for all mitigation guidelines and highly recommend following the new Colorado Wildfire Resiliency Code. Use Low-Flammability Landscape Plants and Ignition-Resistant Landscape Plants.

Please feel free to contact me if you have any questions.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Marshal