## Sheet1
| Reviewer |  | Comment | Date | Responses
| Black Forest Fire Protection District | 4 | BFFR has reviewed the Elk View Estates Final Plat, Fire Protection Report, and current construction drawings. The project proposes six single-family residential lots on approximately 17.05 acres within the Black Forest Fire Rescue Protection District. | 2026-09-10 12:09
|  |  | The Fire Protection Report identifies a **single 30,000-gallon fire cistern with dry hydrant near the development entrance, to be installed prior to issuance of the first building permit**. BFFR accepts the 30,000-gallon concept; however, this shall be **30,000 gallons minimum usable fire-water capacity** and the final installation shall comply with current BFFR rural water-supply/cistern and dry-hydrant requirements. |  | Noted, developer/contractor will work directely with BFFR to ensure compliance.
|  |  | All private fire apparatus access roads shall comply with the **2021 International Fire Code, as adopted and amended**, applicable adopted appendices, El Paso County Land Development Code Section 6.3.3, and BFFR requirements for all-weather load-bearing access, unobstructed width, turning radius, grade, vertical clearance, and turnaround provisions. The current construction set identifies the private roadway and associated plan/profile sheets; final geometry remains subject to BFFR approval. |  | Noted, developer/contractor will work directely with BFFR to receive final approval of access road geometry.
|  |  | The Fire Protection Report also states that any controlled access will include a **Knox Box for fire department access**. Any gate installed shall meet BFFR/IFC emergency-access requirements and be equipped with an approved Knox access method prior to occupancy. |  | Noted, developer/contractor will work directely with BFFR to ensure compliance.
|  |  | Each future residence and applicable accessory structure shall also be reviewed at building permit for compliance with the **Colorado Wildfire Resiliency Code (CWRC)** based upon the applicable mapped wildfire intensity classification and shall comply with all required structure-hardening and defensible-space provisions. |  | Noted
View | PCD Engineering Division | 3 | Easement Deed 2 Redlines | 2026-09-10 10:26 | Easement not required for this development
View | PCD Engineering Division | 3 | Easement Deed 1 Redlines | 2026-09-10 10:25 | Easement not required for this development
View | PCD Engineering Division | 3 | Declaration of Covenants Redlines | 2026-09-10 10:25 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | Letter of Intent Redlines | 2026-09-10 10:24 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | Final Plat Redlines | 2026-09-10 10:24 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | PCM Maintenance Agreement Redlines | 2026-09-10 10:23 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | GEC Checklist Redlines | 2026-09-10 10:23 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | FDR Redlines | 2026-09-10 10:21 | See comment responses on respective document if applicable
View | PCD Engineering Division | 3 | TIS Redlines | 2026-09-10 10:20 | See comment responses on respective document if applicable
| PCD Engineering Division | 3 | Review 3: EPC Development Services Engineer minor comments have been provided on the following documents: | 2026-09-10 10:26
|  |  | - Traffic Report |  | See comment responses on respective document if applicable
- Final Drainage Report
|  |  | Please resubmit documents with signatures. |  | Signatures provided
Reviewed by:
Charlene Durham, PE
charlenedurham@elpasoco.com
| PCD Project Manager | 4 | **ALL DOCUMENTS WITH COMMENTS TO BE UPLOADED AFTER ENGINEER REVIEW*** | 2026-09-09 18:35
| PCD Project Manager | 4 | Review 3: EPC Planning Division has comments in green text boxes on the following documents: | 2026-09-09 18:28
|  |  | - Final Plat Drawings |  | See comment responses on respective document if applicable
- Letter of Intent
- Declaration of Covenants
- Easement Deeds (INFORMATIONAL ONLY)
Reviewed by:
Lacey Dean, Associate Planner
laceydean2@elpasoco.com
| County Attorney - Development Review | 4 | Thanks for submitting the updated detention basin agreement. In future submittal, please include Exhibit B (and make sure the easement abuts a public road so the County has legal access). Please also add the letter "t" to the end of the County Signatory's first name (Gilbert LaForce). No additional comments with respect to that agreement. | 2026-09-09 09:59 | There is no PCM/Detention pond on this project, therefore no Exhibit B.
|  |  | Regarding the SIA, please fill in collateral information and incorporate prior County Attorney edits before future submittal. |  | Bond/LOC assurance will be provided upon approval and execution of the SIA.
Reviewed by: Erika Keech, Sr. County Attorney, erikakeech2@elpasoco.com.
| EPC Stormwater Review | 4 | Review 3: EPC DPW Stormwater comments have been provided (in orange text boxes) on the following uploaded documents (to be uploaded by the Project Manager): | 2026-09-09 13:46
|  |  | - Drainage Report |  | See comment responses on respective document if applicable
- PCM Maintenance Agreement
- GEC Checklist
EPC DPW Stormwater comments have been resolved on the following documents:
|  |  | - ESQCP |  | Noted
- Final Plat
- GEC Plan
Reviewed by:
Mikayla Hartford, P.E.
Engineer - Stormwater
719.339.5053
MikaylaHartford@elpasoco.com
| Mountain View Electric Association, Inc. | 4 | Pursuant to Mountain View Electric Association's Comment Letter dated April 13, 2026, MVEA requests 10' Utility Easements on the front, side and rear of all lots, and a 20' exterior Utility Easement on the Plat. | 2026-09-02 15:18
| Pikes Peak Regional Building Department | 4 | Per E-911 comments, please reserve an acceptable street name. Addressing on the Final Plat looks good. Previous general final plat comments still apply. | 2026-09-02 14:05 | Bull Elk Heights is reserved and will be used.
Becky Allen
PPRBD Enumerations
beckya@pprbd.org
| County Attorney - Water | 4 | Please be sure the Water Resource Report and Water Supply Information Summary lists the correct name from the Final Plat Drawing ‘Elk Ridge Estates’ (not Elk View Estates). Once an updated letter from the Colorado Division of Water has been received showing adequate water, this office will begin review. | 2026-09-01 11:45 | Name of subdivision is Elk View Estates, The plat will be updated.
| 911 Authority - El Paso/Teller County | 4 | Comments for E911 as follows: | 2026-08-31 07:21 | Bull Elk Heights is reserved and will be used.
Elk Heights – Not available, existing.
For clarification, the streetname must be unique. Taking an existing streetname and changing the suffix is not sufficient.
To assist with finding a unique name, streetnaming information (criteria, existing/reserved names) can be found at:
https://www.elpasoteller911.org/street-emergency-number-databases
Thank you
Justin