- A Wildfire and Hazard Risk Analysis and Plan will be required and shall be prepared by a qualified professional.

- Will there be batteries associated with the construction or any form of energy storage system?

- Please list any applicable NFPA standards in the Wildfire and Hazard Plan.

- This site will be most at risk while under construction. Necessary measures will be have to mitigate against wildfire while under construction.