Early Assistance Meeting Number: EA2558

Project Name: Flat Horse Solar- Project Location: Rush, CO.  Connecting to the proposed TriState Power

Parcels: 1400000087 1400000088 1400000129 1400000285 1400000495

Flat Horse Renewables is a proposed 100+ Megawatt Utiltiy scale solar facility located in Yoder, El Paso, Colorado. This project is being developed by Beauro Clean Energy Holdings (Dba Beaufort Rosemary).  The project area is approximately 640 acres of vacant land with the potential to expand on land owned by the State of Colorado. The project will also require a substation/switchyard to be built along highway 94.

Meeting Date: 5/8/25 1pm

El Paso County Planning & Community Development Planning Checklist

Request – Map Provided by Applicant

Connect to TriState

# Zoning

| Existing Zone(s) |  |  |  |
| --- | --- | --- | --- |
| Zone |  | Name |  |
| A35 |  | Agricultural |  |
| Proposed Zone(s) |  |  |  |
| Zone |  | Name |  |
| WSEO |  | Wind & Solar Energy Overlay |  |

Zone Map (existing conditions of approval)

# Zoning Analysis

WSE-O 4.3.5 LDC https://library.municode.com/co/el_paso_county/codes/land_development_code?nodeId=CH4SPPUOVOBZODI_4.3OVZODI P-AR-034-11, Wind/Solar Energy Generation Plan Overlay (WSEO)Rezoning (Map Amendment), and Section S-PL-023-011 uploaded into EDARP EA file; Overlay does not remove underlying zoning.

Zoning District Requirements (density, lot size, lot design standards, building setbacks)

Provide the dev guidelines on face of WSEO do not refer to Code; WSEO is custom to each overlay. Customize the overlay- Heights of each item: arrays, substation, met poles, lines, battery storage, fencing, maintenance bldgs., setbacks, exact locations, and laydown areas identify in table

Plat Map or Parcel Map (conditions of approval): Unplatted

Processing Issues: Neighborhood meeting- upload notes to WSEO file

Application Type(s)                                                 Hearing:  Required/ Optional/ No

| WSEO & Development Agreement | Yes |
| --- | --- |
| 1041 | Not if included notice at WSEO BOCC |
| PPR w/ CDS | No |

Approval Criteria:

(G)Review Criteria for Approval of WSE-O Application. (1)Review Standards. In approving a Wind and/or Solar Energy Generation Overlay Plan Map Amendment, the following findings shall be made: • The application is in general conformance with the El Paso County Master Plan, including applicable Small Area Plans or there has been a substantial change in character of the neighborhood since the land was last zoned; The rezoning is in compliance with all applicable statutory provisions, including but not limited to C.R.S. § 30-28-111, § 30-28-113, and § 30-28-116; • The site is suitable for the intended use(s), including the ability to meet the general development standards of the Land Development Code, except as otherwise amended by the specific overlay zoning district; • The application is consistent with the specific development standards in the Land Development Code pertaining to wind and/or solar energy generation facilities; • The application meets the air, water, light, odor or noise standards established by County, State, or federal regulations; • The proposed use(s) will not be detrimental to the health, safety, or welfare of the inhabitants of the area and the County; and • The proposed use(s) will not cause undue burden on existing infrastructure.

Processing Issues and Options

Neighborhood open house/ work with all Stakeholders and jurisdictions impacted by Haul routes/ Uses WE WILL HAVE A MEETING BEFORE APPLICANT COMPLETES HAUL ROUTE TIS TO VERIFY ROUTES Drainage improvements maybe; wetlands on site; rock outcroppings/ artifacts to be avoided and preserved USAFA Bulls Eye Range-USAFA Base Planner “Thank you for including the United States Air Force Academy (USAFA) in the Early Assis-tance meeting for the Prairie Ridge Solar Project. As the proposed project is outside of our designated flight training areas, we have no further comments. Please keep USAFA informed as this project continues to develop, and as/if other similar developments are proposed in the vicinity.USAFA Base Planner matthew.fitzsimmons.4.ctr@us.af.mil “ Peterson AFB elizabeth.dukes.4@spaceforce.mil (719) 556-1708 Schriever AFB darren.horstmeier@spaceforce.mil (719) 567-3186 All properties included in WSEO must provide authorization for the application; sign the application – provide lease-easement with WSEO. Note outside of USAFA Bullseye Water MP ,Parks MP, MTCP master Plan, mineral plan also must b addressed in 1041 answers and WSEO Letter on Intent (LOI)

Relevant Past History:

Highway 94 ; Rush Road pavement 1 mile then gravel; assessment of roads PCI of roads used for hauling Conservation easement

Design and Landscaping

Site Design/Layout (Lot pattern, circulation/road design, open space, preservation of natural features, compatibility internally and with adjacent land uses)

natural features riparian wetlands cultural reports to protect- design around wetlands and drainages; buffer screen from residents; Haul route exists for gravel at Bagget Road to Sanborn Road, avoid Ellicott Hwy. S Calhan Hwy back up route secondary. Look at the PPR234 Haul Route for Sand and Gravel; WSEO Pike Solar Engineering- Provide the 1-step Haul Route: From State Line to site, optional routes; oversized traffic and trips; options should show internal roads within WSEO off Rush Road; Wysonflu Gravel road may be used in haul route study; Yoder is paved road PCI of 71’ pre- mid and final of roadways Stormwater: MS4 compliant

# Landscaping

| ☐ | Expressway, Principal arterial area depth – 25’-Trees required 1 per 20’ |
| --- | --- |
| ☐ | Urban interchange/Intersection area depth – 25’- N/A |
| ☐ | Minor arterial area depth 20’ – Trees required 1 per 25’ |
| ☐ | Non-arterial area depth 10’ – Trees required 1 per 30’ |
| ☐ | Parking lot landscaping required |
| ☐ | Buffer between non-residential and residential districts separated by a non-arterial road or public alley |

Reseed mix- Work with EPC / Double L Conservation District

Signage:

Depict on site development plans

Parking Requirements:

For maintenance area: 1 Handicap

Lighting:

| Provide Lighting Plan with WSEO plan set ; Maximum 0.1 foot candle at property boundaries where adjacent to County Right of Way or residential land use |  |
| --- | --- |
| Photometric Plan Required | ☒ |

# Site Characteristics\ Constraints\ Environmental Standards: Documentation from US Army Corp if in streams ; USFWS regarding species ; studies to address ground nesting birds 4/15- 10/1;praire dogs- burrowing old survey; swift fox; quail

| ☐ | 30% or greater slope | Topography: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☒ | CGS review required (separate fee to CGS) | Soils/geology: |  | 1041 required CGS review and fee paid- Do at WSEO so sites are not amended |  |  |
| ☒ | Floodplain | Floodplain comment: |  |  | - Check with Floodplain Administer for updated mapping |  |
| ☐ | Noise mitigation required | Noise comment: |  |  |  | Study Required |
| ☒ | Preble’s mouse | Check with Environmental and USFW near creeks |  |  |  |  |

# Air/Visual Quality:

Provide a visual impact analysis photos sims from roads and adj residents

Districts

Taxing Entities

| Proposed source of water |  |  | Proposed method of wastewater disposal |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Central System |  | ☐ | Central System |  |
| District Name: |  |  | District Name: |  |  |

Water/wastewater comments

Letter at 1041 for water truck ability to keep dust down at construction and maintenance if not using well. Water Rights for well for WSEO use provide. Negotiation for lease water rights… provide at 1041

# Fire District:

Work with Fire District ON the response plan- equipment provisions Water supply for Fire District. Fire station at Rush; sandy concerns at road as it transitions from paved road… Tri-County Fire- Fire on the site containment- Wildland fire towards your facility- Fire Breaks around facility. Bess system ( don’t fight), adequate spacing is mitigation. Fire code vegetation to a minimum using goats at Pike and Palmer Solar. Water cistern and electric pumps required by Fire Chief.

Emergency Services Issues:

Grass fires- battery storage Notes Rolands: Wiland Fire Hazard Plan; Wildfire resiliency Code; BESS system comply w/ NFPA 855’ Substation NFPA 850. Prepared by qualified professional 1.15 Rolands Comments Fire Mitigation Program Manager 1. A Wildfire and Hazard Risk Analysis and Plan will be required and shall be prepared by a qualified professional. 2. Will there be batteries associated with the construction or any form of energy storage system? 3. Please list any applicable NFPA standards in the Wildfire and Hazard Plan. 4. This site will be most at risk while under construction. Necessary measures will be have to mitigate against wildfire while under construction.

Commissioner District:  	2 north of 94

Code Waivers:

Parks and trails:

El Paso County Parks and Community Services Department. The 2022 El Paso County Parks Master Plans shows no impacts to existing or proposed parks, trails, or open space. As such, no park land or trail easement dedications are necessary. EPC Parks staff does not need to attend this Early Assistance Meeting. Thank you!

Annexations/Intergovernmental/ Jurisdictional Access issues:

CDOT HWY 94

Road Impact Fee Program (PID Inclusion):

Address in TIS

Environmental

Your El Paso Master Plan

Placetype: Rural- may overlap Utility

Character:

Recommended Land Uses: Rural

Goals, Objectives, Strategies:

Area of Change Designation:

Description: Minimal Change: Undeveloped

The character of these areas is defined by a lack

of development and presence of significant

natural areas. These areas will experience some

redevelopment of select underutilized or vacant

sites adjacent to other built-out sites, but such

redevelopment will be limited in scale so as to

not alter the essential character. New development

may also occur in these areas on previously

undeveloped land, but overall there will be no

change to the prioritized rural and natural environments

Goals, Objectives, Strategies:

Key Area: Near Paint Mine

Goals, Objectives, Strategies:

Water Master Plan Area: 4 B and C

Recommendations:

Wildlife impact: Moderate - Low

Parks Master Plan:

# Helpful Links

# Planning Website: https://planningdevelopment.elpasoco.com/

# El Paso County Master Plan: https://planningdevelopment.elpasoco.com/#1510603950097-f5d985dc-35b2

Parks, Mineral and Water Master Plan: https://planningdevelopment.elpasoco.com/resources-and-references/#1516982531779-52cc0e87-01af

# Forms and Templates: https://planningdevelopment.elpasoco.com/planning-development-forms/#1510677560407-ff8cfff5-69b2716b-00f9cbba-0c21

# Land Development Code:  https://library.municode.com/co/el_paso_county/codes/land_development_code

# EDARP: https://epcdevplanreview.com/

# Public GIS: https://elpasoco.maps.arcgis.com/apps/View/index.html?appid=5be6431018594c67b035ad0aad3e7e8a

# Wrap Up

-If subdivision is proposed, recording fees, park and school fees and road impact fees apply.

-Fees are subject to change. The fees at the time of application apply.

-Pursuant to the adopted El Paso County Road Impact Fee Program (Resolution No. 24-337), a transportation impact fee, calculated on a per trip basis, may be due at the time of building permit issuance. Starting January 1, 2020 the transportation impact fee will be due for all new construction (Resolution No. 19-471).

-The fee for any additional waiver/deviation requests (more than two) - $550.00 each. Please note that requests for waivers and/or deviations may result in additional processing/review delay.

-All items requested must accompany the submittal for it to be complete, prior to payment request or the submittal will not be complete and ready for review agencies.

-A temporary use permit shall be applied for and approved for any staging area associated with development, such as a sales office, construction trailer, or contractor's equipment yard, prior to scheduling of the pre-construction meeting with El Paso County Planning and Community Development. If a Planned Unit Development is proposed, the temporary staging area should be shown on the development guideline and phasing plan.

-All prospective timelines for review are subject to departmental staffing and workload.

-Early Assistance is valid for 12 months from submittal of the EA application. If a project submittal is not received within 12 months, a new EA meeting may be required. An audio/video copy of the meeting is available in EDARP within the EA folder.

- Applications scheduled for public hearings may be heard as a regular item at the request of staff or a hearing body member.

- Any comments or commitments made by any member of the County Staff during this early assistance meeting are only preliminary in nature and should not be relied upon by the applicant. All prospective applicants should be informed that formal comments cannot be made by staff until after the application is submitted.