FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Inspector II           Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: May 12, 2025

To: EDARP

C/O: Ashley Mathy

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Email: ashleymathy2@elpasoco.com

Project Name: Pro Trans Variance of Use

File Prefix: VA-Variance of Use

Parcel/s: 4304002080

File Number: VA253

7936 Cessna Drive Peyton, CO 80831

This letter serves as variance of use comments. You are responsible for complying with all section’s, codes and references with the fire code based on the 2021 International Fire Code (IFC).

PLEASE READ THIS ENTIRE DOCUMENT, YOU ARE RESPONSIBLE FOR EVERYTHING CONTAINED HERIN!

The following are ACTION ITEMS that need to be completed prior to the fire final.

- Address shall be visible from the road/driveway and the parking lot above the main front door.

Section 505.1. Address Identification. New and existing buildings shall have approved address numbers, building numbers or approved building identification placed in a position that is plainly legible and visible from the street or road fronting the property. These numbers shall contrast with their background. Address numbers shall be Arabic numbers or alphabetical letters. Numbers shall be a minimum of five (5) inches (127 mm) high with a minimum stroke width of one half (0.5) inch (12.7 mm). Where access is by means of a private road and the building cannot be viewed from the public way, a monument, pole or other means of signage shall be used to identify the structure.”

- A Hazardous Materials Declaration Form shall be filled out and submitted back to Falcon Fire Protection District. Contact me for the form.

- Are the Fire Extinguishers up to date on there test tag?

- Is there a paint spray booth at this location?

- If a paint spray booth is at this location, is the fire suppression system up to date?

- An annual fire inspection shall be conducted as soon as possible. Contact me to set a date and time.

The following are ATTENTION ITEMS that apply to this review.

- Chapter 20 (Aviation Facilities) of the IFC shall be followed.

- Chapter 24 (Flammable Finishes) of the IFC, if a paint spray booth is on site shall be followed.

- Chapter 50 (Hazardous Materials-General Provisions) of the IFC, if a paint spray booth is on site shall be followed.

Attention Contractor/Applicant:

YOU ARE RESPONSIBLE TO COMPLETE THE FOLLOWING ITEMS.

Please complete the following items:

- Review the comment letter from Falcon Fire Protection District. You are responsible for complying with the entire fire code as amended and any applicable NFPA’s referenced.

- Ensure all Action Items have been addressed.

Please let me know if there are any questions and/or concerns. You may contact me via the email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Inspector II