MEMO

Date: 	April 22, 2025

To:	Nina Ruiz, Vertex Consulting Services

CC:	Dawn Collins, Town Administrator/Clerk, Town of Palmer Lake

Scott Krob, Krob Law, Town Attorney

Mark Morton, PE, GMS Inc., Consulting Engineers for the Town of Palmer Lake

From:	Mike Davenport, AIA, AICP, Community Matters Institute

Barb Cole, Executive Director, Community Matters Institute

RE: 	Buc-ee’s Annexation and Development Applications – Completeness Review

## summary

This memo reviews the completeness of applications submitted for:

- The proposed annexation of property at the southwest corner of the I-25 interchange with County Line Road, and

- Development of a Buc-ee’s Family Travel Center on the property.

The property owner is Monument Ridge West, the developer is CSMS Management, LLC (“CSMS”), and the applications were submitted by Vertex Consulting Services, LLC, (“Vertex”) with Kimley-Horn Associates, Inc. (“KH”). This memo is not a review of the compliance of the applications with town-adopted regulations and standards. This review is solely to determine whether the application is complete. Once deemed complete, a completeness certificate will be issued by the Town in accordance with 17.12.050. THIS COMPLETENESS REVIEW REPLACES THE COMPLETENESS REVIEW DATED APRIL 16, 2025, WHICH WAS SENT TO VERTEX ON APRIL 21, 2025 TO ASSIST IN THE TIMELY COMPLETION OF THE APPLICATIONS SUBMITTED BY VERTEX. THE CALL WITH MIKE DAVENPORT OF CMI WILL OCCUR TODAY AT 11:30 AM. THIS MEMO IS INTENDED TO GUIDE THAT DISCUSSION.

Understand that these submittals will undergo substantial scrutiny, therefore, consistency within each application and between applications is paramount. Secondly, the Town Attorney has concluded that each application must stand on its own.

This memo uses the following typefaces.

- Italicized text – indicates the name of an application or application document

- Regular text – in general, indicates minor comments that need to be addressed. In many cases, the needed information can be found in other documents and applications that have been submitted. In the interest of time and  to avoid further review of incomplete submittals that stand on their own, revised documents addressing these comments should be provided at the same time the Applicant responds and submits these revisions before receiving comments about how each application complies with Town adopted regulations. Please include titles and revision numbers for each application. It is inefficient and confusing to receive pieces of each application and adds considerably to review time.

- Bold text – indicates major comments.

Community Matters Institute (“CMI”), as the planning consultant for the Town of Palmer Lake (“TOPL” or “Town”), has reviewed the four related applications. It may be worthwhile to provide a letter addressing bold text comments as soon as possible, with a following letter that addresses the comments in regular text.

## SUBMITTAL DOCUMENTS AND REVIEW PROCESS

Vertex submitted the following applications to the Town on April 3, 2025.

- Annexation

- Sketch Development Plan

- Sketch (Subdivision) Plan

- Planned Development Plan (PDP)

A proposed development outside of the Town’s boundaries is subject to the following review processes.

- The annexation application is governed by Colorado Revised Statutes (CRS) and Town requirements. Before the annexation is finalized, an annexation agreement and a development agreement must be drafted and initially approved by the DRT before review by the elected officials.

- The rezoning (from County to Town zoning) application may be reviewed simultaneously with the annexation application or afterward, but CRS requires rezoning to occur no later than 90 days after approval of the annexation. In this case, the proposed rezoning is to Planned Development (PD), which is subject to a three-step review process: sketch, preliminary, and final. (also see requirements for rezoning 17.14.010). The Town Attorney shall advise on how to proceed with the PD-negotiated zone district.

- As noted below, the PD Plan is both a written plan and a graphic plan. The written plan mirrors a zone district and includes any standards that are an exception to what is currently adopted in Title 17. Most notably this includes sign standards, lighting standards, landscaping, and often parking standards including stall sizes. If you are asking to negotiate different standards that the Town has currently adopted this shall be part of the written plan. Please note that these standards not ‘guidelines’ replace current adopted standards in TOPL.

- If the property is not already platted, the development of the site is also subject to a three-step subdivision process: sketch, preliminary, and final. The subdivision process may occur parallel to the PD zoning process. Generally, the subdivision process occurs at the time of Final Development Plan.

This review is for completeness of the submitted applications. Review for compliance with the Town regulations as well as the technical review, begins once it has been determined the application is complete.

## SKETCH DEVELOPMENT PLAN application – REVIEW FOR COMPLETENESS

(Below there are minor typographical changes to the names of the submittal items for the sake of clarity.Note: CMI is unclear where the paragraphs sent to Dawn Collins on April 18th, 2025 belong- there is no title only a file name)

- 30 Day Waiver – OK

- Authorization – Add a title, such as “Authorization of Representatives” ADDED, DATE NOT ADJUSTED BECAUSE THIS IS WHEN MARIA SIGNED

- Cost Reimbursement Agreement Town and Buc-ees – OK

- Land Use Application – OK

- Legal Description – Add a title and date ADDED

- Mineral Rights Certificate – OK

- Open Space Description

  - Add a title and date

  - This document indicates 5.9 acres of proposed open space, and the Land Use Table in the Sketch Development Plan lists 0.09 acres of natural/open space area UPDATED TO BE 3.6 AC TO ACCOUNT FOR ONLY 15% OF DETENTION POND AREA BEING USED IN CALCULATION

- Sketch Development Plan Letter of Intent

- Sketch Development Plan

  - See above note under Open Space Description regarding the amount of open space

OPEN SPACE WAS ADJUSTED TO BE 3.6 ACRES ON ALL DOCUMENTS PER UPDATED EXHIBIT.

  - Contact information for both the owner and the applicant

- CONTACT INFO FOR OWNER AND APPLICANT ADDED

Applicant:

CSMS Management LLC

Scott Ratcliff, PE

11200 W Broadway Ste 2332

Pearland, TX, 77584

TEL: 979.529.2704

Owner:

Monument Ridge West, LLC

5055 List Drive

Colorado Springs, CO 80191

  - If no phasing, add a note stating so NO PHASING ADDED AS NOTE 2

  - Natural features: show and label tree cover SHEET 2 WAS ADDED TO SHOW THE LIMITS OF TREE COVER AND WATER COURSE PER THE ALTA

  - Show water and label existing water course SHEET 2 WAS ADDED TO SHOW THE LIMITS OF TREE COVER AND WATER COURSE PER THE ALTA

  - Add a note regarding provisions to protect or incorporate natural features NATURAL FEATURES NOTE ADDED AS NOTE 3

  - Add a note for floodplain; or if none, state so FLOODPLAIN NOTED ADDED AS NOTE 4.

- Title Commitment – Note: Schedule B Part II Exceptions includes 44 exceptions. Approximately 10 have been struck, and there are about 36 active hyperlinks to documents in El Paso County records. The exceptions should be individually reviewed to ensure there are no issues. SEE LETTTER FROM BUC-EE’S ATTORNEY VERIFYING NO CONFLICT

- Zone Checklist – OK