EA File No. _26-91 Daniels Batch Plant

PCD-Engineering Meeting Notes

| EA Meeting Date/Time: | Thursday, 2/19/2026 1:00 |
| --- | --- |
| Parcel Number: | 6502000126 |
| Address./Plat No./Acre: | 3710 Bradley Rd/-/325 acres |
| Project Manager/Phone: | Kari Parsons (719) 520-6306 |
| EA Engineer/Phone: | Daniel Torres (719) 520-6305 |
| Application/Land Use Type: |  |

## IMPORTANT NOTE:

These Engineering meeting notes are based on the information provided by the Applicant and reasonable preliminary research.  The County requirements and policies in effect at the time of the meeting may change prior to the project submittal date, and the requirements and policies in effect at the date of submittal shall apply.  Based on the applicant-provided information and preliminary research, these notes are the best estimate of the requirements expected to be met by the Applicant.  The actual requirements may change based on project revisions, new information, or constraints that were unavailable or overlooked at the time of the Early Assistance meeting.  It is solely the Applicant’s responsibility to research and be familiar with state and federal laws and permitting requirements; the County’s regulations, codes and criteria; the requirements of other applicable local, state or federal agencies; and any governing documents that apply to the project, including previous drainage and transportation studies and previous land use approvals and conditions. Reference links are provided at the end of this document.

REQUEST

Amrize West Central Inc. (“Amrize”) (f/k/a Holcim-WCR, Inc.) would like to coordinate a meeting with the El Paso County Planning Department to discuss Amrize’s interest and the county requirements to construct a Hot-Mix Asphalt Plant at our Daniels Sand Pit #2 Facility located at 3710 Bradley Rd in Colorado Springs. The prospective asphalt plant would be located on the west side of parcel number 6502000126 (west of Academy Blvd). The proposed area for the Asphalt plant is currently zoned I-3 Heavy Industrial. The rest of the property operates under El Paso County USR AL-93-021. REF: AL93021, PPR1624, PPR1625 PPR2161, PPR2239, COM188, EA2346

Drainage Impacts

Documents; Design Elements. ☐; Drainage Basin Planning Study (DBPS); ☒; Full Spectrum Detention. ☐; Master Development Drainage Plan (MDDP); ☒; Permanent Water Quality. ☒; Preliminary/Final Drainage Report/Letter; ☐; Downstream Conveyance Analysis (to include possible offsite improvements). ☒; Financial Assurance Estimate (FAE) Form; ☐; Floodplain Impacts. ☐; Builder’s Erosion and Stormwater Quality Control Permit (BESQCP); ☐; Public Improvements. ☒; Erosion and Stormwater Quality Control Permit (ESQCP). ☒; Grading & Erosion Control (GEC) Plan & GEC Checklist; Miscellaneous. ☒; Stormwater Management Plan (SWMP) & SWMP Checklist; ☒; Construction Activity Permit/ CDPHE Discharge Permit/CDPHE APEN Fee. ☒; PCM Applicability Form; ☐; Special Districts/Water Quality Authority Areas. ☒; PCM Maintenance Agreement and O&M Manual. ☒; MHFD-Detention Basin Design Workbook or SDI Sheet. ☐; Pre-Subdivision Site Grading Form. ☐; Deviation Request.

| Basin Name/Studied | Basin Fee* | Bridge Fee* |
| --- | --- | --- |
| Little Johnson (FOFO3200) | $16,283 | 0 |

* Per impervious acre, collected prior to recordation of Final Plat.

- A 25% fee reduction applies for Low Density Lots (2.5 acres and greater lot sizes).

Drainage Notes:

- Drainage report required – Refer to DCMV1 Ch4 for report standards. Address detention and water quality. Concern is developed flow discharging from the site. Will need to be mitigated.

- Is there an existing industrial stormwater permit on site? Please provide a copy.

- PBMP Applicability

- Applicant indicated that site will be placed outside reclaimed area but acknowledge the process if they choose to place it within the reclaimed area as they indicated that

- An EPC Stormwater Permit (ESQCP) will be needed if/when one of the following criteria are triggered:

  - Develop the site and disturb >1ac of soil, or:

  - <1ac of soil disturbance but the site is part of a larger common plan of development, or:

  - Cut and/or fill >500 cubic yards of soil, or:

  - The site is located in or adjacent to a sensitive area.

- If/when the site disturbs >1ac of soil, a stormwater quality treatment facility (PCM) will be needed for the runoff from the non-excluded areas. Exclusions can be found in our PCM Applicability Form and ECM Appendix I.7

- PCM will not be required if drainage report shows that runoff from the site does not leave the property

- Soil disturbance for ESQCP will only be counted on currently undisturbed or stabilized land

- An ESQCP will be required if a PCM is required regardless of soil disturbance

Traffic Impacts

REQUIREMENTS

| ☒ | Traffic Impact Study/Memorandum | ☒ | Road Impact Fee ☐County/CDOT project coordination required |
| --- | --- | --- | --- |
| ☐ | Road Construction Plans | ☐ | Driveway Access Permit |
| ☐ | Public Improvements | ☐ | Signal Warrant Study |
| ☐ | Deviation Request | ☐ | Joint Access Easement |

| Adjacent Road Name |  | Ex. ROW (ft) | Surface | 2040 MTCP |  |  | 2060 MTCP |  |  | Required Intersection Spacing (ft) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Classification | ROW | Dedication | Classification | ROW | Potential Preservation |  |
| Academy blvd |  | varies | paved | Expressway |  |  |  |  |  |  |
| Drennan Rd (City roadway) |  |  |  |  |  |  |  |  |  |  |
| Milton Proby Pkwy (City Roadway) |  |  |  |  |  |  |  |  |  |  |
| Bradley Rd |  | 60 | pave | Principal Art | 130’ | 35 |  |  |  | ½ mile |
| Other (i.e. multi-jurisdictional): |  |  |  |  |  |  |  |  |  |  |
| Metro District | Choose an item. |  |  |  |  |  |  |  |  |  |

Traffic Notes:

- Traffic Memo required. Refer to ECM appendix B. Haul route agreement/fee will be required.

- Contact City of Colorado Springs for requirements and access permits to any City roadways.

- No direct access from Academy

- Per special use permit, County access shall be at existing Bradley road access.

- Applicant indicated that haul route is directly to Bradley to access Academy Blvd going north or South.

COUNTY CODES AND CRITERIA:

El Paso County Land Development Code (LDC) (2016): https://planningdevelopment.elpasoco.com/land-development-code/

El Paso County Engineering and Drainage Criteria Manuals (ECM) (2017) & (DCM) Volumes 1 and 2 and Update:

https://planningdevelopment.elpasoco.com/planning-community-development/engineering/#1519834440345-f2ddfd20-0d90

El Paso County 2016 Major Transportation Corridors Plan Update (MTCP) (2016): https://publicworks.elpasoco.com/road-bridge-planning/mtcp/

El Paso County Road Impact Fee Program: https://publicworks.elpasoco.com/road-impact-fees/

El Paso County Development Fees: https://planningdevelopment.elpasoco.com/#1515613078895-69552b09-44a4

El Paso County Projects (EDARP):  https://epcdevplanreview.com/Public

El Paso County Municode Library: https://library.municode.com/co/el_paso_county

Planning and Community Development: https://planningdevelopment.elpasoco.com/planning-development-forms/#1643393391537-a0dac52d-1b3b

El Paso County Stormwater Page: https://publicworks.elpasoco.com/stormwater/

Assessor’s Information

Assessor’s Data:  https://property.spatialest.com/co/elpaso/#/

Assessor’s Map:  https://community.spatialest.com/co/elpaso/#/Property-Search/

Drainage Links:

Mile High Flood District: http://MHFD.org

Detention Pond Compliance Website: https://maperture.digitaldataservices.com/gvh/?viewer=cswdif

State DWR: http://water.state.co.us/SURFACEWATER/DAMSAFETY/Pages/DamSafety.aspx

NOAA Rainfall: https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html?bkmrk=co

Floodplain: https://www.pprbd.org/Download/Floodplain#floodplainHandouts

https://pprbd.maps.arcgis.com/apps/webappviewer/index.html?id=1d9243f3606542159a0a418070b08686

https://msc.fema.gov/portal/advanceSearch

Fountain Creek Watershed: http://www.fountain-crk.org/

State Transportation Links

Colorado Department of Transportation (CDOT) M&S Standards and Specifications, Access Code and Permit:

  - https://www.codot.gov/business/designsupport/standard-plans

  - https://www.codot.gov/business/permits/accesspermits

  - https://www.codot.gov/business/permits/accesspermits/references

Local Governing Authorities

City of Colorado Springs: https://coloradosprings.gov/

City of Fountain: https://www.fountaincolorado.org/

Town of Calhan: http://calhan.co/

Green Mountain Falls: https://gmfco.elpasoco.com/

Town of Monument: http://www.townofmonument.org/

Town of Palmer Lake: http://www.townofpalmerlake.com/

Contact Information

| CDOT Access Manager | (719)562-5537 |
| --- | --- |
| Work in Right of Way Permit | (719)520-6869 |
| Right of Way Vacation | (719)520-6897 |
| Floodplain Administrator | (719)327-2898 |
| EPC Public Health | (719)578-3199 |
| CDPHE Air Quality Division | (303)692-3100 |
| CDPHE Water Quality Division | (303)692-3500 |
| Cherry Creek Basin Water Quality Authority | (303)239-5400 |

Traffic Information

| Traffic Impact Study (ECM Appendix B)* |  |
| --- | --- |
| Full TIS | ADT > 1,000 or Pk Hr > 100 |
| Intermediate TIS | ADT < 1,000 or Pk Hr < 100 |
| Traffic Memo | ADT ≤ 500 or Pk Hr ≤ 50 |
| No TIS | ADT < 100 or Pk Hr < 10 |

*An approved TIS that has been prepared in the last three years may be revised or updated where a proposed access is changed or a change in the proposed action may result in a new trip generation that exceeds the original trip generation estimates. An amendment letter is required.

**If the original TIS is older than three years, an entirely new TIS shall be prepared.

***Any submitted TIS is subject to third party review based on size and complexity, in which additional fees will be assessed to the applicant.

The applicant is responsible for obtaining any necessary approvals for impacts within other jurisdictions. It is recommended that the applicant approach the jurisdiction early in the development process for any additional requirements. If the proposal is impacted by an El Paso County Department of Public Works project, coordination with DPW is required.

Drainage Report/Plan Information

Drainage Letter Report – With a Re-plat, Minor Sub or Plot Plan (DCM Section 4.5) where a final drainage report has previously been approved.

Drainage Basin Planning Study (DBPS) – May be required with a very large development

Master Development Drainage Plan (MDDP) – Required with phased development greater than 10 acres (may be required with Sketch Plan) (DCM Section 4.2)

Preliminary Drainage Report (PDR) – Required with a Preliminary Plan (DCM Section 4.3)

Final Drainage Report (FDR) – Required with a Final Plat (DCM Section 4.4) Detention/Water Quality BMP/Downstream Conveyance Information The proposed project or developed land use shall not change historical runoff values, cause downstream damage, or adversely impact adjacent properties.”. The County Criteria has been updated to require Full-Spectrum Detention/WQCV Facilities. If on-site facilities are required, the applicant will be required to provide access and drainage easements in accordance with Section 11.2.2 of the Drainage Criteria Manual. If a water quality and/or detention facility is applicable, some or all of the following documents may be required: Operation and Maintenance Plan, MS4 Post Construction Form, Private Detention Basin / Stormwater Quality BMP Maintenance Agreement, Stormwater Detention and Infiltration (SDI) Form. For special water quality BMPs requirements, see the Engineering Criteria Manual Appendix I. State Engineer’s requirements regarding dams and water rights apply. Post Construction MS4 Form, SDI Worksheet, and Jurisdictional/Non-Jurisdictional dam construction forms are typically required for detention facilities. The project must provide for an acceptable method of storm drainage conveyance and may be required to construct (or contribute an equitable share to the construction of) a storm conveyance or collector system. If the site conveys storm drainage flows through or across an adjacent private property, then the applicant is responsible for obtaining off-site drainage easements in accordance with the Engineering Criteria Manual Section 3.3.3.K. Any offsite easements necessary for the development shall be recorded prior to County Plan approvals. Drainage Master Plan/Floodplain Information If it is undetermined at this time if an adopted Drainage Basin Planning Study or Master Plan exists in this area, the applicant is responsible for researching the appropriate information.

If the subdivision application impacts the FEMA floodplain, a FEMA Letter of Map Revision may be required. If the site is in or near a floodplain, contact the Regional Floodplain Administrator for allowed floodplain uses and procedural requirements. It is the Applicant’s responsibility to research the effects and implications of developing in or near a floodplain, including limited uses, floodplain development permits, geotechnical, wetland and wildlife studies, structural requirements, flood insurance and potential future floodplain mapping updates. FEMA's FIRM maps may be out of date or at a low level of accuracy.

If the site lies within the Cherry Creek Basin Water Quality Authority area and is not rural density, the applicant should discuss any concerns related to the development with the CCBWQA’s consultant.

If the site lies within the Fountain Creek watershed, the District has authority over the floodplain impacts and is advisory to the County on uses outside of the floodplain. The applicant should discuss any concerns related to the development with District staff.

Grading, Erosion, and Sediment Control Information

The Grading and Erosion Control Plan (GEC) must be prepared in accordance with Drainage Criteria Manual Vol. 2, Chapter 3 and the County GEC Checklist.

An Erosion and Stormwater Quality Control Permit (ESQCP) is required for the following conditions per ECM Appendix I.4:

- Construction activities that result in land disturbance of greater than or equal to one acre. An ESQCP is also required for

- Construction activities that result in less than one acre if the activity is part of a larger common plan of development or sale that would disturb one acre or more of ground surface (ECM 1.4.1.

- Construction activities that are considered to be High Risk or are located in or adjacent to a Sensitive Area.

See the three ESQCP exclusions listed in ECM Chapter 5.6.3.

An application for an ESQCP shall be accompanied by the following:

- GEC Plan

- Stormwater Management Plan (SWMP) and SWMP Checklist

- Permit Fee

- Financial Surety

- PBMP Applicability Form

A Builder’s Erosion and Sediment Quality Control Permit (BESQCP) is required for residential building lots with < 1 acre of disturbed areas and does not meet any of the criteria for an ESQCP listed above.

If a County Construction Activity permit is required, contact the El Paso County Department of Health and Environmental for further information regarding the permit. Construction activities that disturb one or more acres are required by the Environmental Protection Agency to obtain a Construction Stormwater Permit through the Colorado Department of Public Health & Environment Water Quality Control Divisions. All land development activities greater than twenty-five (25) acres or with construction duration longer than six (6) months must obtain an Air Pollution Emission Notice and Emissions Permit through the Colorado Department of Public Health & Environment Air Quality Control Division.

Deviations

All engineering designs and studies shall be performed in conformance with adopted codes, standards and criteria. Any deviations are to be formally identified and requested in writing, with justification provided per ECM Section 5.8. All deviation requests must be approved by the ECM Administrator prior to submitting the application for review, or delays in the review and additional fees may result. The Applicant must submit adequate justification for consideration of the request(s).

Public Improvements Information

If public improvements are required, the applicant will be required to enter into a Subdivision Improvement Agreement (SIA) or a development agreement (if the project is not a subdivision) with the County. Refer to the El Paso County Land Development Code for information on the SIA and the ECM for the required format of the associated Financial Assurance Estimate. All forms are available online.

Construction drawings for the required public improvements must be reviewed and approved by PCD and the County Engineer. All Construction drawing submittals shall adhere to the criteria set forth in the ECM. A construction plan review fee will be assessed when the plans are submitted for review.

Geotechnical reports for earthwork and pavement designs must be reviewed and approved.  All submittals must adhere to the criteria set forth in the ECM.

Any work within the Right of Way will require a permit from El Paso County Department of Public Works.

Any Fire cistern(s) and mailbox kiosks need to be shown on the construction drawings.

Metro District Fees

| Woodmen Road Metro District | Central Marksheffel Metro District | Lorson Ranch Metro District | Constitution Heights Metro District |
| --- | --- | --- | --- |
| - Property in district pays no fee - After December 31, 2020 no property in the Amended Service Area shall be permitted to join the WRMD, and shall participate fully in the Fee Program. - As of January 1, 2021 and until either bonds retire or December 31, 2027, whichever occurs sooner, El Paso County must pay a portion of the Road Impact Fee it collects from property in the Amended Service Area that receives final plat approval to WRMD. | - Property in district pays no fee - District granted $2.9 million in Fee Program Credit - Fee Program will pay annual credit reimbursements to District, or can sell credits | - Property in district pays full fee - District granted $4.1 million in credit - Credits used toward future development, can apply for reimbursement, can sell credits | - Property in district pays full fee - District granted $3.1 million in credit - Used toward future development, can sell credits, NO reimbursement - County will collect building permit fees for reimbursement of PPRTA improvements to Marksheffel Road from property within District and some property outside District – Credit given toward Impact Fee for amount of building permit fee paid. |

*Properties within the Meridian Crossing subdivision are not subject to the county wide road impact fee.