**6/22/2022**

**Stormwater PA Punchlist – Corral Bluffs Filing 3**

* Rain Garden A1 – fine grade above riprap to allow for positive drainage
* Culvert OA1 – ensure drainage easement swale daylights for positive drainage