Cherokee Metro District

PFAS Water Treatment Facility

Brief description:

New water treatment facility to treat emerging PFAS drinking water standards.

Gallons – 8.6 MGD design capacity (assuming 6000gpm)

Height – Approximately 30’

floor plan SF – approximately 15,700sq.ft. building

location – Ellicott, CO

new lines diameter –24-30” diameter to match existing lines in Hwy 94.

new or replacement infrastructure -  Mostly existing, with some new to connect existing to facility.

population to be served if new or existing – Unchanged (approximately 29,000)