Judge Orr RV. Pre-PA Walk Inspection

3-2-2023

All landscaping in and along Range Flower Dr, phase 1.  This includes both sides of Range Flower Dr.  I am sending the updated approved CD’s for reference.

Complete the top mat on Range Flower Dr. from the entrance off of Judge Orr Rd, to the first intersection.   Phase 1 only.

Obtain an 2 access permits on line for both DW off of Judge Orr Rd.

Obtain a sign permit for the existing double pole sign by the front entrance.

Provide As Built drawings and certifications for the PCD engineers, and for Storm Water engineers.  See the provided file for information of what is needed.

Complete all the items on the SW list.

*I will send this to Brad Walters to see if there are any items that needed to be added to this list.