**Falcon Marketplace Pond Punch List**

**10-6-21**

**Regional Detention Pond SR-4:**

* **Install 2 missing bolts on the overflow screen**
* **Add fill to the sides of the trickle channel on the west end by outlet structure.**
* **Repair 2 cracks on the outlet flared end section at ease end of the pond.**

**Inlet at North End:**

* **Remove wood from the inlet box.**

**Pond #2 by Woodman Rd:**

* **Remove straw waddles on sides of trickle channel.**
* **Fill in riles at the SE end by the inlet box. At corner of intersection.**
* **Fill in behind trickle channel at middle of pond.**

**Small Pond #3 by SW Entrance.**

* **Remove straw waddles.**

**Inlet at Middle of Falcon Market Place Dr**

* **Remove wood from the inlet box.**