FALCON FIRE PROTECTION DISTRICT

Fire Prevention Division

7030 Old Meridian Road

Falcon, Colorado 80831

Business Number: 719-495-4050     Business Fax: 719-495-3112

Lieutenant/Fire Inspector II           Curtis L. Kauffman

Email: ckauffman@falconfirepd.org                     Cell #: 719-641-2139

Date: October 28, 2025

To: Lisa Elgin

Planning & Community Development

2882 International Circle, Suite 110

Colorado Springs, CO 80910

Phone Number: 719-520-6449

Email: LisaElgin@elpasoco.com

Project Name: Antler Range Preliminary Plan

File Prefix: SP-Preliminary Plan

Parcel/s: 4218000022

File Number: SP251

Attention Contractor/Applicant:

YOU ARE RESPONSIBLE TO COMPLETE THE FOLLOWING ITEMS.

Please complete the following items:

- The Falcon Fire Department has reviewed the rezoning to RR-2.5 for the above project. No issues or concerns.

- Use the Colorado State Forest Service recommendations on plants/trees and the new Colorado Wildfire Resiliency Code if permitting after April 1, 2026.

- Show on the site plan the turning radii at intersections and cul-de-sacs. 33’ inside and 53’ outside. This is new since the March 10th, 2025 comment letter.

- Adequate fire apparatus access per the LDC and the International Fire Code (2021 edition).

- Show on the site plan the general location of the water fire cistern and the width of the road.

Please let me know if there are any questions and/or concerns. You may contact me via the email at the top of the letter.

Sincerely,

Curtis L. Kauffman

Curtis L. Kauffman

Fire Prevention Division

Lieutenant/Fire Inspector II