| 11/20/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 5.5 Mix temperature: 74 Air content: 6.5 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 48 Weather conditions: Cloudy Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| --- | --- | --- | --- | --- | --- |
| 11/19/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 72 Air content: 6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 63 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/17/2025 | Site Visit |  | We were not notified that a pour was scheduled i happened to find as I arrived on site. Sidewalks were being poured on several streets Entech was testing. 54 and mostly sunny Concrete 81 degrees 35.2lbs 5.2% air 4.5" slump | B Walters | Edit ¦ Delete |
| 11/14/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 79 Air content: 6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 63 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/13/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 3 Mix temperature: 77 Air content: 5.9 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 69 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/12/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 78 Air content: 6.2 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 68 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/11/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 89 Air content: 6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 65 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/10/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 88 Air content: 5.1 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 60 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/7/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 80 Air content: 3.8 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 50 Weather conditions: Sunny Time of pour: 10.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: This is the truck number 2 did not pass first test will adjust and take another added 86 OZ of liquid air Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 5 Mix temperature: 80 Air content: 6.8 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 50 Weather conditions: Sunny Time of pour: 10.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations Pass after making adjustments. They will be having a 3rd truck this afternoon and entech will be testing that one as well. | A Rivera | Edit ¦ Delete |
| 11/7/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 2.5 Mix temperature: 78 Air content: 4.6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 50 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: Failed Added 12 gal of water and spun it for 3 mins Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 80 Air content: 7.4 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 50 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: Passed will be testing 2nd truck | A Rivera | Edit ¦ Delete |
| 11/6/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 7 Mix temperature: 87 Air content: 5.2 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 65 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/5/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 78 Air content: 5.3 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 68 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 11/4/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.75 Mix temperature: 83 Air content: 6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 63 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 10/30/2025 | Site Visit | 2 | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 5 Mix temperature: 78 Air content: 4.2 2nd test 5.7 Water/Admixtures added (if any): added 32oz air 2gallon water Total yards scheduled:18 yards Ambient temperature: 45 Weather conditions: Sunny/ Cold Temps 45 Degrees and rising Time of pour: 9:00AM Batch time: 8:32 Ticket number:71406463 Contractor/Company used: Entech Tester Holcim Other notations: 35.5lbs 34.7lbs Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 7 Mix temperature: 78 Air content: 4.5 / 2nd test 6.2 Water/Admixtures added (if any): added 30oz air 1 gallon water Total yards scheduled:18 yards Ambient temperature: 45 Weather conditions: Sunny/ Cold Temps 45 Degrees and rising Time of pour: 9:42AM Batch time: 8:32 Ticket number:71406469 Contractor/Company used: Entech Tester Holcim Other notations: 34.9lbs 34.4lbs | T Lindgren | Edit ¦ Delete |
| 10/29/2025 | Site Visit | 2 | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 80 Air content: 4.0 / 2nd test 5.0 Water/Admixtures added (if any): added 50oz air 1 gallon water Total yards scheduled:20 yards Ambient temperature: 70 Weather conditions: Sunny/ Cold Temps 42 Degrees and rising Time of pour: 11:00AM Batch time: 10:32 Ticket number:86761781 Contractor/Company used: Entech Tester Holcim Other notations: Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 6 Mix temperature: 80 Air content: 4.4/ 2nd test 5.6 Water/Admixtures added (if any): added 30oz air 1 gallon water Total yards scheduled:20 yards Ambient temperature: 70 Weather conditions: Sunny/ Cold Temps 42 Degrees and rising Time of pour: 11:00AM Batch time: 10:57 Ticket number:71406415 Contractor/Company used: Entech Tester Holcim Other notations: | T Lindgren | Edit ¦ Delete |
| 10/28/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 3 Mix temperature: 75 Air content: 6.2 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 70 Weather conditions: Sunny/ Cold Temps 36 Degrees and rising Time of pour: 9.00AM Batch time: 8:14 Ticket number:86761739 Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 10/24/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 75 Air content: 5.2 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 70 Weather conditions: Sunny Time of pour: 9.00AM Batch time: 8:14 Ticket number:86761739 Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 10/22/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 81 Air content: 6.9 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 70 Weather conditions: Sunny Time of pour: 9.00AM Batch time: 8:14 Ticket number:86761739 Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 10/3/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 4.74 Mix temperature: 78 Air content: 6 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 70 Weather conditions: Sunny/ Cold Temps 36 Degrees and rising Time of pour: 9.00AM Batch time: 8:14 Ticket number:86761739 Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 10/2/2025 | Site Visit |  | Structure being poured: Sidewalk Method for pour (machine, handset, etc.): Handset Slump: 3.75 Mix temperature: 78 Air content: 5.2 Water/Admixtures added (if any): None Total yards scheduled:20 yrds Ambient temperature: 70 Weather conditions: Sunny Time of pour: 9.00AM Batch time: 8:14 Ticket number:86761739 Contractor/Company used: Entech Tester Holcim Other notations: | A Rivera | Edit ¦ Delete |
| 9/29/2025 | Site Visit |  | Location of work being performed (station numbers): Peaceful Ridge Dr Between Sleepy Meadows Dr Marksheffel Rd-300Ft Method for work being performed: Proof Roll - Sub base Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 9am Ambient temperature: 65 Weather conditions: Sunny Other notations: No deflections were detected | T Lindgren | Edit ¦ Delete |
| 9/16/2025 | Site Visit |  | Location of work being performed (station numbers): Periwinkle Pl and Melting Sky Drive Method for work being performed: Poof Roll Contractor/Company completing the work: Martin Marietta / Entech Time of site visit: 800 am Ambient temperature: 60 Weather conditions: Sunny Other notations: The 2 soft spots from yesterday got fixed and we didn't notice issues today. Paving is going to start this morning with a 2inch bottom mat. | T Lindgren | Edit ¦ Delete |
| 9/15/2025 | Site Visit |  | Location of work being performed (station numbers): Periwinkle Pl and Melting Sky Drive Method for work being performed: Poof Roll Contractor/Company completing the work: Martin Marietta Time of site visit:2:00pm Ambient temperature: 77 Weather conditions: Sunny Other notations: 2 soft spots were detected a water valve and a manhole lid, on the corner of Periwinkle Pl and Melting Sky Drive. They will need to check again on 9/16/25 before paving can begin. A water valve and a manhole lid | T Lindgren | Edit ¦ Delete |
| 9/15/2025 | Site Visit | 1 | Structure being poured: Curb Location of pour (station numbers): Sleepy Meadows Dr Method for pour (machine, handset, etc.): Handset Slump: 2.5 Mix temperature: 82 Air content: 6.0 Water/Admixtures added (if any): 0 Total yards scheduled: 8.75 Ambient temperature: 77 Weather conditions: Sunny Time of pour: 1pm Batch time: 12:08 Ticket number: 71404196 Contractor/Company used: Entech - Transit Mix Amrize Concrete | T Lindgren | Edit ¦ Delete |
| 9/9/2025 | Site Visit | 2 | Location of work being performed (station numbers): Sleepy Meadows Dr and Bar Oak Lane Method for work being performed: Proof Roll Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 8am Ambient temperature: 65 Weather conditions: Sunny Other notations: No deflections were detected. There was a section dugout 10 inches below top of gutter that they didn't want to proof roll because of being soft. Martin Marietta is going to fill it with asphalt before bottom mat. See photos It looked to be soft after bottom mat; they're thing of using a Fiber Grid before the 3rd mat | T Lindgren | Edit ¦ Delete |
| 9/4/2025 | Site Visit |  | Location of work being performed (station numbers): Sleepy Meadows Dr Method for work being performed: Proof Roll - Sub base Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 8am Ambient temperature: 70 Weather conditions: Sunny Other notations: Numerous deflections were detected. Martin Marietta is going to dig out backfill with Red Canyon | T Lindgren | Edit ¦ Delete |
| 9/3/2025 | Site Visit |  | Martin Marita are working on the road repairs on Sleepy Meadows. Temps of 86 degrees. Everything is looking good. | A Rivera | Edit ¦ Delete |
| 8/21/2025 | Site Visit |  | Structure being poured: inlet Method for pour (machine, handset, etc.): Handset Slump: 3 3/4 Mix temperature: 89 Air content: 6.8% Water/Admixtures added (if any): None Total yards scheduled:8 Ambient temperature: 70 Weather conditions: Sunny Time of pour: 11.00AM Batch time: Ticket number: Contractor/Company used: Entech tester Burnco Other notations: | A Rivera | Edit ¦ Delete |
| 8/13/2025 | Site Visit |  | Martin Marietta is still paving. Everything looks good with that temps are great as well as compaction. they should be finishing up the second lift today. Not sure when they will do top lift. | A Rivera | Edit ¦ Delete |
| 8/13/2025 | Site Visit |  | Location of work being performed (station numbers):Corner of Periwinkle Pl and Melting Sky Drive Method for work being performed: Poof Roll Contractor/Company completing the work: Martin Marietta Time of site visit:9:00am Ambient temperature: 68 Weather conditions: Sunny Other notations: Proof Roll went good they do have some spots that they need to dig out and add some more class 6 to it. they should be done with that today.. | A Rivera | Edit ¦ Delete |
| 8/12/2025 | Site Visit | 2 | Location of work being performed (station numbers):Corner of Periwinkle Pl and Melting Sky Drive Method for work being performed: Dig out Contractor/Company completing the work: Martin Marietta Time of site visit: 10:45am Ambient temperature: 78 Weather conditions: Sunny Other notations: This is one of many dig outs. Martin Marietta is digging out and backfilling with Class #6 | T Lindgren | Edit ¦ Delete |
| 8/11/2025 | Site Visit |  | Location of work being performed (station numbers): Black Park Trail & Mirador Lane, Rock Rose Terrance, Hornstone Path, North end of Panpipe Lane Method for work being performed: Proof Roll - Paving Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 9am Ambient temperature: 65 Weather conditions: Sunny Other notations No deflections were detected. Location of work being performed (station numbers): Periwinkle Pl North of Rock Rose Method for work being performed: Proof Roll - Sub base Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 9:45am Ambient temperature: 70 Weather conditions: Sunny Other notations: Numerous deflections were detected mostly around manhole lids. Martin Marietta is going to dig out backfill with Red Canyon | T Lindgren | Edit ¦ Delete |
| 8/4/2025 | Site Visit |  | Location of work being performed (station numbers): Black Park Trail & Mirador Lane Method for work being performed: Proof Roll - Sub base Contractor/Company completing the work: Martin Marietta- Entech Time of site visit: 2pm Ambient temperature: 90 Weather conditions: Sunny Other notations No deflections were detected. | T Lindgren | Edit ¦ Delete |
| 7/15/2025 | Site Visit |  | Martin Marietta is laying down road base. they did a proof roll yesterday and they have a few soft spots. Martin Marietta did fix those this morning. Site in good condition with temps of 73. | A Rivera | Edit ¦ Delete |
| 7/14/2025 | Site Visit |  | General Site Inspection Location of work being performed - Sleepy Meadows Dr Work being performed- Proof Roll Method for work being performed: Subgrade Contractor/Company completing the work: Martin Marietta and Entech Time of site visit: 3pm Ambient temperature:80 Weather conditions: Cloudy During the proof roll 3 deflection was observed at the east end. They will be dug out and be filled with Class 6. Proof Roll is scheduled again for 7/15/25 | T Lindgren | Edit ¦ Delete |
| 5/23/2025 | Site Visit |  | Structure being poured: tie ends Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 75 Air content: 6.2% Water/Admixtures added (if any): None Total yards scheduled:20 Ambient temperature: 55 Weather conditions: Sunny Time of pour: 7.00AM Batch time: Ticket number: Contractor/Company used: Entech tester Pete Lien Other notations: | A Rivera | Edit ¦ Delete |
| 5/22/2025 | Site Visit |  | Structure being poured: tie ends Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 78 Air content: 5.5% Water/Admixtures added (if any): None Total yards scheduled:20 Ambient temperature: 52 Weather conditions: Sunny Time of pour: 7.00AM Batch time: Ticket number: Contractor/Company used: Entech tester Pete Lien Other notations: | A Rivera | Edit ¦ Delete |
| 5/21/2025 | Site Visit |  | Structure being poured: tie ends Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 78 Air content: 6.5% Water/Admixtures added (if any): None Total yards scheduled:20 Ambient temperature: 64 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number: Contractor/Company used: Entech tester Pete Lien Other notations: | A Rivera | Edit ¦ Delete |
| 5/20/2025 | Site Visit |  | Structure being poured: tie ends Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 69 Air content: 6.8% Water/Admixtures added (if any): None Total yards scheduled:10 Ambient temperature: 60 Weather conditions: Sunny Time of pour: 9.00AM Batch time: Ticket number: Contractor/Company used: Entech tester Pete Lien Other notations: | A Rivera | Edit ¦ Delete |
| 5/19/2025 | Site Visit | 1 | Concrete Pour Inspection Structure being poured: Cross Pan Location of pour (station numbers): Method for pour (machine, handset, etc.): Hand Slump: 4.5 Mix temperature: 78 Air content: 5.1 Weight: 35.6 Water/Admixtures added (if any): 0 Total yards scheduled: 10 Ambient temperature: 52 Weather conditions: Cloudy Time of pour: 9.30 Contractor/Company used: Concrete Experts Other notations (failed tests, etc.): Concrete was on site after 9 am at 9:10 I was notified that Entech had schedule problems and was on their way. at 9:30 they started to pour without testing had maybe 7 yards on the ground before Entech started testing at 9:50am. Please include any photos if necessary. | T Lindgren | Edit ¦ Delete |
| 5/16/2025 | Site Visit |  | Structure being poured: Cross pan/ Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 68 Air content: 7% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 59 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech | A Rivera | Edit ¦ Delete |
| 5/15/2025 | Site Visit |  | Structure being poured: Cross pan/ Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 70 Air content: 6.5% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 70 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech | A Rivera | Edit ¦ Delete |
| 5/14/2025 | Site Visit |  | Structure being poured: Cross pan/ Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 72 Air content: 4.5% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 70 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech Notations: Failed first test. Added 5 gal of water Structure being poured: Cross pan/ Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 72 Air content: 5% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 70 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech Notations: Passed at 5% they are at there 90 mins but it is only 10 yards. And Cdot stopped them for a check point or they would have been fine on time | A Rivera | Edit ¦ Delete |
| 5/14/2025 | Site Visit |  | Structure being poured: Cross pan/ Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 72 Air content: 4.5% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 70 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech Notations: Failed first test. They added some air to the mix one packet no water Structure being poured: Cross pan/ Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.5 Mix temperature: 72 Air content: 5.5% Water/Admixtures added (if any): None Total yards scheduled: 20 Ambient temperature: 70 Weather conditions: Sunny, Time of pour: 9 Batch time: Ticket number: Contractor/Company used: SRM, Entech Notations: Passed test will be testing the second truck at 12 | A Rivera | Edit ¦ Delete |
| 5/2/2025 | Site Visit: Concrete Testing |  | Structure being poured: Cross pan Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 75 Air content: 5.5% Water/Admixtures added (if any): None Total yards scheduled: 7 Ambient temperature: 55 Weather conditions: Sunny, Windy Time of pour: 9.18 Batch time: Ticket number:14037935 Contractor/Company used: SRM, Entech Notations: | E Skelton | Edit ¦ Delete |
| 4/30/2025 | Site Visit: Concrete Testing |  | Structure being poured: Curb and gutter, Crosspan Location of pour (station numbers): PANPIPE LANE STA 16+00 Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 75 Air content: 4.4% Water/Admixtures added (if any): None Total yards scheduled: 14 Ambient temperature: 53 Weather conditions: Sunny Time of pour: 9.15am Batch time: 8.18 am Ticket number: 12033687 Contractor/Company used: Entech, Concrete Experts, SRM Notations: Concrete was re-tested. and the next truck at 1:00 is going to be tested. half of the cross pan at PANPIPE LANE was poured and the other section was poured at 1:00pm Retest Slump: 4.25 Mix temperature: 75 Air content: 4.4% Water/Admixtures added (if any): 1.5 Gallons air Total yards scheduled: 14 Ambient temperature: 53 ------------------------------------------------------------------------------------------ Structure being poured: Curb and gutter, Crosspan Location of pour (station numbers): PANPIPE LANE STA 16+92 Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 78 Air content: 5% Water/Admixtures added (if any): None Total yards scheduled: 14 Ambient temperature: 65 Weather conditions: Sunny, light breeze Time of pour: 1:29pm Batch time: 12:24pm Ticket number: *********** Contractor/Company used: Entech, Concrete Experts, SRM | E Skelton | Edit ¦ Delete |
| 4/29/2025 | Site Visit: Concrete Testing |  | Structure being poured: Tie ends Location of pour (station numbers): 11+80 L Method for pour (machine, handset, etc.): Handset Slump: 4 Mix temperature: 69 Air content: 3.6% Water/Admixtures added (if any): None Total yards scheduled: 12 Ambient temperature: 44 Weather conditions: Sunny, Windy Time of pour: 9.10 am Contractor/Company used: SRM concrete, Concrete Experts Retest Time: 9.25 Slump: 4 Mix temperature: 72 Air content: 5.8% Water/Admixtures added (if any): 1.5 gallons of air Ambient temperature: 44 Notation: STA from Peaceful Ridge CDR and SIA Amendment to SF05044 | E Skelton | Edit ¦ Delete |
| 4/23/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Tie ends Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4.25" Mix temperature: 79 Air content: 6.5% Water/Admixtures added (if any): 10 Total yards scheduled: 10 Ambient temperature: 68 Weather conditions: Sunny Time of pour: 12.30 pm Contractor/Company used: Holcom concrete Trax, Entech tester | A Rivera | Edit ¦ Delete |
| 4/22/2025 | Site Visit | 1 | Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine with hand finshing Slump: 1/2" Mix temperature: 68 Air content: 5.0% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 50 Weather conditions: Sunny Time of pour: 8:25 Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): At 8:25am they started to pour into machine, I asked the crew from Trax Construction about a tester, after a few phone calls they had Entech on the job and testing concrete at 8:50am. Concrete tested within specs, and they continued. | T Lindgren | Edit ¦ Delete |
| 4/17/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine Slump: 1/2" Mix temperature: 73 Air content: 6.0% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 70 Weather conditions: Sunny Time of pour: 8:25 Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.) 110Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine Slump: 1/2" Mix temperature: 66 Air content: 6.5% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 50 Weather conditions: Sunny Time of pour: 8:25 Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): | A Rivera | Edit ¦ Delete |
| 4/16/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine with hand finshing Slump: 1/2" Mix temperature: 78 Air content: 7% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 68 Weather conditions: Sunny Time of pour: 7am Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): 110 Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine Slump: 1/2" Mix temperature: 70 Air content: 5.8% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 68 Weather conditions: Sunny Time of pour: 7am Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): | A Rivera | Edit ¦ Delete |
| 4/15/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Curb and Gutter Location of pour (station numbers): Method for pour (machine, handset, etc.): Curb machine with hand finshing Slump: 1" Mix temperature: 68 Air content: 5.8% Water/Admixtures added (if any): 0 Total yards scheduled: 200 Ambient temperature: 50 Weather conditions: Sunny Time of pour: 7:25 Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): | A Rivera | Edit ¦ Delete |
| 4/15/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Location of pour (station numbers): Curb and Gutter Method for pour (machine, handset, etc.): Curb machine Slump: 1" Mix temperature: 72 Air content: 5.8% Water/Admixtures added (if any): Non Total yards scheduled: 200 Ambient temperature: 48 Weather conditions: Sunny Time of pour:7:00 Contractor/Company used: Holcom concrete traxs Entech tester Other notations (failed tests, etc.): Concrete Pour Inspection Structure being poured: Location of pour (station numbers): 110 yards Concrete Pour Inspection Curb and Gutter Structure being poured: Location of pour (station numbers): Method for pour (machine, handset, etc.): Slump: 1" Mix temperature: 70 Air content: 5.2% Water/Admixtures added (if any): Non Total yards scheduled: 200 Ambient temperature: 60 Weather conditions: Sunny Time of pour:7:00 Contractor/Company used: holcom concrete Trax and entch tester Other notations (failed tests, etc.): Concrete Pour Inspection Structure being poured: Location of pour (station numbers): | A Rivera | Edit ¦ Delete |
| 4/2/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Forebay base and outlet structure base Location of pour (station numbers): Method for pour (machine, handset, etc.): Slump: 4.25" Mix temperature: 75 Air content: 3.5% Water/Admixtures added (if any): Non Total yards scheduled: 4.5 Ambient temperature: 41 Weather conditions: Sunny Time of pour:12:00 Contractor/Company used: Pete Lien, Brost-Mallon Other notations (failed tests, etc.): Concrete Pour Inspection Structure being poured: Forebay base and outlet structure base Location of pour (station numbers): Method for pour (machine, handset, etc.): Pump Slump: 4.5" Mix temperature: 75 Air content: 5.8% Water/Admixtures added (if any): Non Total yards scheduled: 4.5 Ambient temperature: 41 Weather conditions: Sunny Time of pour: 12:00 Contractor/Company used: Pete Lien, Brost-Mallon Other notations (failed tests, etc.): | A Rivera | Edit ¦ Delete |
| 3/28/2025 | Site Visit |  | Concrete Pour Inspection Structure being poured: Trickle Channel Location of pour (station numbers): Method for pour (machine, handset, etc.): Handset Slump: 4" Mix temperature: 72 Air content: 5.8% Water/Admixtures added (if any): 0 Total yards scheduled: 12 Ambient temperature: 60 Weather conditions: Sunny Time of pour: 8:25 Contractor/Company used: Holcom concrete Trax, Entech tester Other notations (failed tests, etc.): | A Rivera | Edit ¦ Delete |
| 3/13/2025 | Site Visit: Site Visit | 4 | Concrete Pour Inspection Structure being poured: Forebay base and outlet structure base Location of pour (station numbers): Method for pour (machine, handset, etc.): Pump truck Slump: 4" Mix temperature: 78 Air content: 5.5% Water/Admixtures added (if any): Non Total yards scheduled: 38 Ambient temperature: 62 Weather conditions: Sunny Time of pour: 1:15 Contractor/Company used: Pete Lien, Brost-Mallon Other notations (failed tests, etc.): No issues. I did a rebar inspection before and will include photos. | S Pirzadeh | Edit ¦ Delete |
| 3/5/2025 | Site Visit |  | Frazee is still working on installing RCP. Site is in good condition. Sunny cold with temps of 37 degrees. Also Rice and Rice is hauling out some dirt. | A Rivera | Edit ¦ Delete |
| 1/14/2025 | Site Visit |  | Frazee is still working on installing RCP. Site is in good condition snow on site. Sunny cold with temps of 31 degrees. Also check some more RCP | A Rivera | Edit ¦ Delete |
| 12/12/2024 | Site Visit |  | Frazee is still working on installing RCP. Site is in good condition. Sunny with temps of 53 degrees | A Rivera | Edit ¦ Delete |
| 11/21/2024 | Site Visit |  | Frazee is installing some RCP. I also took a look at the rest of the RCP and everything looks good. Temps of 53 degrees. | A Rivera | Edit ¦ Delete |
| 11/19/2024 | Site Visit |  | Still working on the little bit of water pipe they have left and then they will be starting on RCP. Will be going back out there to check the rest of the RCP this week. Cloudy with temps of 40 degrees | A Rivera | Edit ¦ Delete |
| 10/22/2024 | Site Visit |  | Frazee is still working on laying water pipe. Site in good condition Sunny with temps of 78 degrees | A Rivera | Edit ¦ Delete |
| 10/8/2024 | Site Visit |  | Frazee started working on laying water pipes. They should be done with all the sewer now. Sunny with temps of 78 degrees | A Rivera | Edit ¦ Delete |
| 10/3/2024 | Site Visit |  | Still working on sewer hoping by the middle of this month they will be done with sewer and starting on water. site in good condition sunny temps are 80 degrees | A Rivera | Edit ¦ Delete |
| 9/24/2024 | Site Visit |  | Still working on Sewer I thought they was done with sewer but looks like they still have about a month left on sewer. | A Rivera | Edit ¦ Delete |
| 8/22/2024 | Site Visit |  | Not a lot going on Frazee is hauling some dirt out and they are still working on sewer. No inspections needed at this time Sunny with Temps of 90 degrees | A Rivera | Edit ¦ Delete |
| 6/27/2024 | Site Visit |  | Working on sewer. Talked with David and he said they should be done with sewer in the next month and will move on the water lines. Site in good condition | A Rivera | Edit ¦ Delete |
| 6/26/2024 | Site Visit |  | Working on Sewer, no inspections | T Lindgren | Edit ¦ Delete |
| 6/10/2024 | Site Visit |  | Still working on sewer. No inspection done | T Lindgren | Edit ¦ Delete |
| 6/3/2024 | Site Visit |  | RCP was inspected a few need repairs they were marked with pink arrows. | T Lindgren | Edit ¦ Delete |
| 4/19/2024 | Site Visit |  | Installing more sewer pipe. | A Rivera | Edit ¦ Delete |
| 4/19/2024 | Site Visit |  | Installing more sewer pipe. | A Rivera | Edit ¦ Delete |
| 4/11/2024 | Site Visit |  | Installing sewer pipe. everything looks good | A Rivera | Edit ¦ Delete |
| 4/5/2024 | Site Visit |  | Installing sewer pipe. everything looks good. | A Rivera | Edit ¦ Delete |
| 3/13/2024 | Site Visit |  | Not to much going on. doing a little bit of grading. | A Rivera | Edit ¦ Delete |
| 3/8/2024 | Site Visit |  | No activity at this time due to cold weather. | A Rivera | Edit ¦ Delete |
| 3/5/2024 | Site Visit |  | Still doing some early grading. temps are 46 degrees | A Rivera | Edit ¦ Delete |
| 2/16/2024 | Site Visit |  | Still working on grading. Trucks are also still coming in to haul away dirt pile | A Rivera | Edit ¦ Delete |
| 2/14/2024 | Site Visit |  | Trucks are hauling away dirt pile. Sunny 55. Also doing a little bit of grading | A Rivera | Edit ¦ Delete |
| 2/2/2024 | Site Visit |  | Trucks are hauling away dirt pile. Sunny 50. Also doing a little bit of grading | A Rivera | Edit ¦ Delete |
| 1/12/2024 | Site Visit |  | Still working on grading. Cloudy windy. dust was blowing talked to the foreman out there and he didn't have any water trucks going due to it being so cold. Was making sure that the dust was not to bad. If it was to get to bad I told him that we would have to shut it down for the day. | A Rivera | Edit ¦ Delete |
| 12/28/2023 | Site Visit |  | Still working on early grading. Company that is doing the grading is with Rice and Rice. 49 degrees and sunny with some wind. | A Rivera | Edit ¦ Delete |
| 12/1/2023 | Site Visit |  | Rice and Rice is still working on early grading. Site in good condition | A Rivera | Edit ¦ Delete |
| 11/8/2023 | Site Visit |  | Rice and Rice is still working on the early grading. Site in good condition | A Rivera | Edit ¦ Delete |
| 9/13/2023 | Site Visit |  | Cleaning up all the mud the rain has caused. | A Rivera | Edit ¦ Delete |
| 9/7/2023 | Site Visit |  | Site in good condition, still early grading. | A Rivera | Edit ¦ Delete |
| 7/6/2023 | Site Visit |  | Site in good condition. They do have all the blankets on by the ponds. Still grading | A Rivera | Edit ¦ Delete |
| 6/16/2023 | Site Visit |  | Still grading. Keeping an eye on the site. Every Time it rains all the dirt seems to go in the public yards. | A Rivera | Edit ¦ Delete |
| 6/2/2023 | Site Visit |  | Site looks good. | A Rivera | Edit ¦ Delete |
| 5/24/2023 | Site Visit |  | Still in early grading. Looks good | A Rivera | Edit ¦ Delete |
| 5/4/2023 | Site Visit |  | Still doing grading. Everything is looking good. | A Rivera | Edit ¦ Delete |
| 4/25/2023 | Site Visit |  | site in good condition still grading | A Rivera | Edit ¦ Delete |
| 3/30/2023 | Site Visit |  | Typical dirt work activities on site. Grading | A Rivera | Edit ¦ Delete |
| 3/24/2023 | Site Visit |  | Grading/dirt work continues throughout the project. | A Rivera | Edit ¦ Delete |
| 3/17/2023 | Site Visit |  | Site in good condition | A Rivera | Edit ¦ Delete |
| 3/10/2023 | Site Visit |  | Talked with Pete and he said that they are behind in schedule. He said that they have about another 5 months of grading. Site in good condition. | A Rivera | Edit ¦ Delete |
| 3/2/2023 | Site Visit |  | Grading/dirt work continues throughout the project. | L Gish | Edit ¦ Delete |
| 2/28/2023 | Site Visit |  | Site in good condition. Early grading making good progress. | A Rivera | Edit ¦ Delete |
| 2/23/2023 | Site Visit |  | No work onsite due to weather. | D Parkerson | Edit ¦ Delete |
| 2/23/2023 | Site Visit |  | Site snow covered, no work in progress due to snow cover and low temps. | L Gish | Edit ¦ Delete |
| 2/21/2023 | Site Visit |  | Typical dirt work activities on site. | A Rivera | Edit ¦ Delete |
| 2/17/2023 | Site Visit |  | No activity due to snow cover. | A Rivera | Edit ¦ Delete |
| 2/16/2023 | Site Visit |  | Site snow covered, no activity due to snow cover and low temps. | L Gish | Edit ¦ Delete |
| 2/15/2023 | Site Visit |  | No work in progress due to active snowfall and high winds. | L Gish | Edit ¦ Delete |
| 2/13/2023 | Site Visit |  | Spoke with the RICE&RICE grading superintendent about complaints from dust. He is doing dust abatement and speaking with the residents. | D Parkerson | Edit ¦ Delete |
| 2/8/2023 | Site Visit |  | Early grading not much was going on due to them doing maintenance on the equipment. Site in good condition. | A Rivera | Edit ¦ Delete |
| 2/7/2023 | Site Visit |  | Typical dirt work activities on site. | L Gish | Edit ¦ Delete |
| 2/6/2023 | Site Visit |  | Grading and overlot digging dirt work continues throughout the project. | L Gish | Edit ¦ Delete |
| 2/2/2023 | Site Visit |  | Dirt work back in progress and surveyor is still on/around the site work in Marksheffell when I drove though. | L Gish | Edit ¦ Delete |
| 2/2/2023 | Site Visit |  | David and I drove through to get familiar with my projects. Inspected Early grading. Site In good condition. | A Rivera | Edit ¦ Delete |
| 2/1/2023 | Site Visit |  | Site snow covered, surveyor present but no other work in progress. | L Gish | Edit ¦ Delete |
| 1/30/2023 | Site Visit |  | No active work on site due to sub-zero temps and snow cover from last night. | L Gish | Edit ¦ Delete |
| 1/26/2023 | Site Visit |  | Work continues to make good progress. | L Gish | Edit ¦ Delete |
| 1/26/2023 | Site Visit |  | Amanda and I monitored early grading onsite. | D Parkerson | Edit ¦ Delete |
| 1/25/2023 | Site Visit |  | Minimal activity on site due to high winds, low temps and blowing snow. | L Gish | Edit ¦ Delete |
| 1/24/2023 | Site Visit |  | Early grading taking place | D Parkerson | Edit ¦ Delete |
| 1/23/2023 | Site Visit |  | Grading and overlot digging dirt work continues throughout the project. | L Gish | Edit ¦ Delete |
| 1/19/2023 | Site Visit |  | Minimal work in progress. | L Gish | Edit ¦ Delete |
| 1/18/2023 | Site Visit |  | Minimal active work on site due to snow/temps. | L Gish | Edit ¦ Delete |
| 1/17/2023 | Site Visit |  | Work continues to make good progress. | L Gish | Edit ¦ Delete |
| 1/12/2023 | Site Visit |  | Typical dirt work/grading continues. | L Gish | Edit ¦ Delete |
| 1/10/2023 | Site Visit |  | Grading taking place. | D Parkerson | Edit ¦ Delete |
| 1/9/2023 | Site Visit |  | Site in good condition. | L Gish | Edit ¦ Delete |
| 1/9/2023 | Site Visit |  | Over lot grading and dirt work continue throughout the project. | L Gish | Edit ¦ Delete |
| 1/5/2023 | Site Visit |  | Work continues to make good progress. | L Gish | Edit ¦ Delete |
| 1/4/2023 | Site Visit |  | Grading and overlot digging dirt work continues throughout the project. | L Gish | Edit ¦ Delete |
| 1/3/2023 | Site Visit |  | Minimal active work on site due to snow/temps. | L Gish | Edit ¦ Delete |
| 12/21/2022 | Site Visit |  | Site in good condition. | L Gish | Edit ¦ Delete |
| 12/20/2022 | Site Visit |  | Work continues to make good progress. | L Gish | Edit ¦ Delete |
| 12/19/2022 | Site Visit |  | Minimal activity in progress. | L Gish | Edit ¦ Delete |
| 12/15/2022 | Site Visit |  | Typical dirt work/grading continues. | L Gish | Edit ¦ Delete |
| 12/14/2022 | Site Visit |  | Over lot grading and dirt work continue throughout the project. | L Gish | Edit ¦ Delete |
| 12/13/2022 | Site Visit |  | No activity due to temps/snow. | L Gish | Edit ¦ Delete |
| 12/8/2022 | Site Visit |  | Dirt work continues and I checked with Rudy as to if they intended to start any permanent pond structures etc. that they would need inspections on as I had noted the rip rap being installed but he assured me that was only for the temporary sediment basin and they are still months away from anything other than dirt work but would make sure to keep me in the loop. | L Gish | Edit ¦ Delete |
| 12/7/2022 | Site Visit |  | Typical dirt work activity continues throughout the project. | L Gish | Edit ¦ Delete |
| 12/6/2022 | Site Visit |  | They have installed the rip rap along Marksheffel for the temporary sediment basin. | L Gish | Edit ¦ Delete |
| 12/5/2022 | Site Visit |  | Over lot grading and dirt work continue. | L Gish | Edit ¦ Delete |
| 11/29/2022 | Site Visit |  | Minimal activity due to snow. | L Gish | Edit ¦ Delete |
| 11/22/2022 | Site Visit |  | Minimal work in progress. | L Gish | Edit ¦ Delete |
| 11/21/2022 | Site Visit |  | Only minimal activity on site along with maintenance/repair crews working on several pieces of equipment. | L Gish | Edit ¦ Delete |
| 11/17/2022 | Site Visit |  | Minimal activity due to snow. | L Gish | Edit ¦ Delete |
| 11/16/2022 | Site Visit |  | Site in good condition. | L Gish | Edit ¦ Delete |
| 11/15/2022 | Site Visit |  | They had a late start but are back on ROW work on the shoulder for silt fence installation. | L Gish | Edit ¦ Delete |
| 11/14/2022 | Site Visit |  | They have traffic control for shoulder work as they are installing silt fence along Marksheffel. | L Gish | Edit ¦ Delete |
| 11/8/2022 | Site Visit |  | Work continues to progress, site in good condition. | L Gish | Edit ¦ Delete |
| 11/7/2022 | Site Visit |  | Dirt work, over dig and over lot grading in progress. | L Gish | Edit ¦ Delete |
| 11/3/2022 | Site Visit |  | Over lot digging and grading continues. | L Gish | Edit ¦ Delete |
| 11/2/2022 | Site Visit |  | Site in good condition. | L Gish | Edit ¦ Delete |
| 11/1/2022 | Site Visit |  | Dirt work, over dig and over lot grading in progress. | L Gish | Edit ¦ Delete |
| 10/26/2022 | Site Visit |  | Work continues to progress, site in good condition. | L Gish | Edit ¦ Delete |
| 10/24/2022 | Site Visit |  | Over lot digging and grading continues. | L Gish | Edit ¦ Delete |
| 10/18/2022 | Site Visit |  | Dirt work, over dig and over lot grading in progress. | L Gish | Edit ¦ Delete |
| 10/17/2022 | Phone Call |  | Brad emailed me the actual approved APEN permit vs just the application that was being processed that we had when I issued their Notice To Proceed. | L Gish | Edit ¦ Delete |
| 10/13/2022 | Site Visit |  | Grading active on site. | N Grimaldo | Edit ¦ Delete |
| 10/6/2022 | Site Visit |  | Over lot grading taking place on site at this time. Belly scrapers and dozers were active at time of inspection. | N Grimaldo | Edit ¦ Delete |
| 9/30/2022 | Site Visit |  | Drive-by inspection. Scraper and water tank have been staged on site, however, no active work observed. | N Grimaldo | Edit ¦ Delete |
| 9/16/2022 | Site Visit |  | Notice to proceed given. | N Grimaldo | Edit ¦ Delete |
| 9/15/2022 | Site Visit |  | Project remains idle. Site in good general condition. | N Grimaldo | Edit ¦ Delete |
| 8/16/2022 | Site Visit |  | Site remains idle. Ground was wet/muddy and site was receiving heavy rainfall at time of inspection. | N Grimaldo | Edit ¦ Delete |
| 8/10/2022 | Site Visit |  | Work has not begun at this time. Site is in overall good general condition. | N Grimaldo | Edit ¦ Delete |
| 8/2/2022 | Site Visit |  | Majority of reinforced silt fence has been installed along the site perimeter. Site personnel is meeting today to discuss installation of the VTC on the NE corner. Area will not be utilized as an access point until later on in the project. Once initial control measures are installed a Pre CON will be held prior to initial work. | N Grimaldo | Edit ¦ Delete |
| 7/27/2022 | Site Visit |  | Silt fence installation was active along the west perimeter. No additional ground disturbance at this time. | N Grimaldo | Edit ¦ Delete |